# Electronic Posters: Pulse Sequences, Reconstruction & Analysis

Compressed Sensing I

Hall B	Monday 14:00-16:00		Computer 110

14:00	4847.	Compressive Sensing and Low Contrast Detectability

Joshua D. Trzasko1, Armando Manduca1, Matt A. Bernstein1

1Mayo Clinic, Rochester, MN, United States

To date, the most successful applications of Compressive Sensing (CS) to MRI have focused on situations like contrast-enhanced MR angiography where the information of interest is represented by high-contrast features.  However, many diagnostic tasks in clinical MRI are more closely related to low-contrast object detectability (LCOD) than high-contrast detectablility.  In this work, we investigate the potential of the CS paradigm for LCOD and compare its performance against more widely-used approaches based on of zero-filling.

14:30	4848.	High-Frequency Subband Compressed Sensing MRI

Kyunghyun Sung1, Brian A. Hargreaves1

1Radiology, Stanford University, Stanford, CA, United States

Compressed sensing (CS) is a technique that allows accurate reconstruction of images from a reduced set of acquired data. Here, we present a new method, which applies CS to only high-frequency subbands to maximally utilize the wavelet characteristics while minimizing reconstruction artifacts, and allowing easy incorporation of other rapid imaging techniques.

15:00	4849.	The Influence of Various Adaptive Radial Undersampling Schemes on Compressed-Sensing L1-Regularized Reconstruction

Rachel Wai-chung Chan1, Elizabeth Anne Ramsay2, Donald Bruce Plewes2

1Medical Biophysics, University of Toronto, Toronto, ON, Canada; 2Imaging Research, University of Toronto, Toronto, ON, Canada

Adaptive radial imaging allows multiple images to be retrospectively reconstructed from the same dataset, each with a different spatial-temporal balance. It has been shown that compressed sensing reconstruction can be used reduce streak artifacts in high-temporal-resolution images created by radial undersampling. Here, we compare the effect of 3 adaptive sampling schemes (golden angle, bit-reversed, and random sampling scheme) on the ability of CS reconstruction to reduce streak artifacts, at various spatiotemporal resolutions. Results show that CS reconstruction lowers the degree of error and mostly preserves the differences among sampling schemes compared to Fourier reconstruction.

15:30	4850.	Efficient Non-Contrast-Enhanced MRA with Inflow Inversion Recovery by Skipped Phase Encoding and Edge Deghosting (SPEED)

Zheng Chang1, Qing-San Xiang2,3, Hao Shen4, Fang-Fang Yin1

1Department of Radiation Oncology, Duke University, Durham, NC, United States; 2Department of Physics and Astronomy, University of British Columbia, Vancouver, bc, Canada; 3Department of Radiology, University of British Columbia, Vancouver, BC, Canada; 4Applied Science Laboratory, GE Healthcare, Beijing, China

Skipped Phase Encoding and Edge Deghosting (SPEED) has been demonstrated effective in accelerating typical MRI. In this work, SPEED is further developed to achieve higher efficiency in accelerating non-contrast-enhanced MRA with inflow inversion recovery (IFIR). IFIR employs an inversion recovery pulse to suppress signals from static tissue, while leaving inflow arterial blood unaffected, resulting in visible vasculature on modest tissue background.  By taking advantages of sparsity of vasculature, SPEED with a single-layer-model can achieve higher efficiency than that achievable with a double-layer-model. The technique is demonstrated with a 3D renal IFIR study achieving undersmapling factors up to 5.

Tuesday 13:30-15:30		Computer 110

13:30	4851.	Partial Fourier Compressed Sensing

Mariya Doneva1, Peter Börnert2, Holger Eggers2, Alfred Mertins1

1University of Lübeck, Lübeck, Germany; 2Philips Research Europe, Hamburg, Germany

This work considers an extension of the frequently used partial Fourier imaging to a combination with compressed sensing and parallel imaging. The sampling pattern and the reconstruction have been adjusted to allow a combined multi-coil partial Fourier compressed sensing reconstruction, which could benefit from the different  fast imaging methods, potentially achieving even higher acceleration factors. The basic feasibility of the proposed method has been demostrated on in vivo brain data.

14:00	4852.	Non-Convex Greedy Compressed Sensing for Phase Contrast MRI

Daehyun Yoon1, Jeffrey Fessler1, Jon-Fredrik Nielsen2, Anna Gilbert3, Douglas Noll2

1Electrical Engineering, University of Michigan, Ann Arbor, MI, United States; 2Biomedical Engineering, University of Michigan; 3Mathematics, University of Michigan

We propose a novel, non-convex greedy compressed sensing algorithm for phase-contrast MRI. Because the blood vessel distributions are sparse in the image domain, we model that the velocity encoded image has only sparse phase changes compared to the reference image without velocity encoding. Exploiting this sparsity in the velocity encoding phase, we developed a non-convex greedy compressed sensing algorithm to highly undersample the acquisition of the velocity encoded object. We also compared our proposed method to a convex optimization method and found out from the simulations that our method can achieve higher undersampling rates.

14:30	4853.	Fast Time-Resolved 3D Single Point Imaging with Compressed Sensing

James A. Rioux1,2, Steven D. Beyea2,3, Chris V. Bowen2,3

1Department of Physics, Dalhousie University, Halifax, Nova Scotia, Canada; 2National Research Council - Institute for Biodiagnostics (Atlantic), Halifax, Nova Scotia, Canada; 3Departments of Physics, Radiology and Biomedical Engineering, Dalhousie University, Halifax, Nova Scotia, Canada

Single Point Imaging sequences are well suited to acceleration with Compressed Sensing (CS), allowing the lengthy acquisition times associated with these sequences to be shortened considerably.  We demonstrate such acceleration with 128x128x16 3D TurboSPI images, which also contain time course information for quantification of relaxation parameters.  Acceleration factors of 6-10 are readily achievable, with further improvements possible at larger matrix sizes.  CS reconstruction retains overall image quality and preserves time course information to within a few percent, allowing SPI to be more readily used for in vivo imaging, or studying dynamic systems.

15:00	4854.	Clinically Feasible Reconstruction Time for L1-SPIRiT Parallel Imaging and Compressed Sensing MRI

Mark Murphy1, Kurt Keutzer1, Shreyas Vasanawala2, Michael Lustig1

1EECS, UC Berkeley, Berkeley, CA, United States; 2Radiology, Stanford University, Stanford, CA, United States

We have optimized for GPUs the L1-minimization for reconstruction of Parallel Imaging and Compressed Sensing MRI, reducing the runtime to 97 seconds. This is the first clinically-feasible runtime reported for Compressed Sensing MRI reconstruction.

Wednesday 13:30-15:30	Computer 110

13:30	4855.	Total Generalized Variation (TGV) for MRI

Florian Knoll1, Kristian Bredies2, Thomas Pock3, Rudolf Stollberger1

1Institute of Medical Engineering, Graz University of Technology, Graz, Austria; 2Institute for Mathematics and Scientific Computing, University of Graz, Graz, Austria; 3Institute for Computer Graphics and Vision, Graz University of Technology, Austria

Total Variation was recently introduced in many different MRI applications. The assumption of TV is that images consist of areas which are piecewise constant. However, in many practical MRI situations, this assumption is not valid due to the existence of smooth signal inhomogeneities originating from the exiting b1 field or the receive coils. This work introduces the new concept of Total Generalized Variation for MRI, a new mathematical framework which is a generalization of the TV theory and which eliminates these restrictions. Two important applications are considered in this paper, image denoising and iterative image reconstruction from undersampled radial data sets with multiple coils. Apart from simulations, experimental results from in vivo measurements are presented where TGV yielded improved image quality over conventional TV in all cases.

14:00	4856.	Wavelet-Based Compressed Sensing Using Gaussian Scale Mixtures

Yookyung Kim1, Mariappan S. Nadar2, Ali Bilgin, 1,3

1Electrical and Computer Engineering, University of Arizona, Tucson, AZ, United States; 2Siemens Corporation, Corporate Research, Princeton, NJ, United States; 3Biomedical Engineering, University of Arizona, Tucson, AZ, United States

While initial Compressed Sensing (CS) techniques assumed that sparsity transform coefficients are independently distributed, recent results indicate that dependencies between transform coefficients can be exploited for improved performance. In this paper, we propose the use of a Gaussian Scale Mixture (GSM) model for exploiting the dependencies between wavelet coefficients in CS MRI. Our results indicate that the proposed model can significantly reduce the reconstruction artifacts and reconstruction time in wavelet-based CS MRI.

14:30	4857.	Accelerated Compressed Sensing of Diffusion-Inferred Intra-Voxel Structure Through Adaptive Refinement

Bennett Allan Landman1,2, Hanlin Wan2,3, John A. Bogovic3, Peter C. M. van Zijl4,5, Pierre-Louis Bazin6, Jerry L. Prince, 23

1Electrical Engineering, Vanderbilt University, Nashville, TN, United States; 2Biomedical Engineering, Johns Hopkins University, Baltimore, MD, United States; 3Electrical and Computer Engineering, Johns Hopkins University, Baltimore, MD, United States; 4F.M. Kirby Center, Kennedy Krieger Institute, Baltimore, MD, United States; 5Biomedical Engineering, Johns Hopkins University, Nashville, TN, United States; 6Radiology, Johns Hopkins University, Baltimore, MD, United States

Compressed sensing is a promising technique to estimate intra-voxel structure with traditional DTI data and avoid many of the practical constraints (e.g., long scan times, low signal-to-noise ratio) that plague more detailed, high b-value studies. However, computational complexity is a major limitation of compressed sensing techniques as currently proposed. We demonstrate a novel technique for accelerated compressed sensing of diffusion-inferred intra-voxel structure utilizing adaptive refinement of a multi-resolution basis set. Our approach achieves a tenfold reduction in computational complexity and enables more practical consideration of intra-voxel orientations in time-sensitive settings, routine data analysis, or in large studies.

15:00	4858.	Optimal Single-Shot K-Space Trajectory Design for Non-Cartesian Sparse MRI

Yong Pang1, Bing Wu2, Xiaoliang Zhang2,3

1Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA , United States; 2Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA, United States; 3 UCSF/UC Berkeley Joint Graduate Group in Bioengineering, San Francisco & Berkeley, CA, United States

Sparse MRI can reduce the acquisition time and raw data size using significantly undersampled k-space. However, conventional k-trajectories waste much time in traveling useless k-space samples. In this work the optimal k-space trajectory design for sparse MRI is addressed. After sampling the k-space using Monto-Carlo sampling schemes, the graphic theory is applied to design an optimal shingle-shot k-trajectory traveling through all these samples, which can further decrease the acquisition time. To demonstrate the feasibility and efficiency, conventional Cartesian EPI and spiral trajectories, as well as their gradients are designed to be compared with those of the optimal k-trajectory.

Thursday 13:30-15:30	Computer 110

13:30	4859.	A Novel Compressed Sensing (CS) Method for B1+ Mapping in 7T

Joonsung Lee1, Elfar Adalsteinsson1,2

1Electrical engineering and computer science, Massachusetts Institute of Technology, Cambridge, MA, United States; 2Harvard-MIT Division of Health Sciences and Technology, Massachusetts Institute of Technology, Cambridge, MA, United States

We have developed a novel CS algorithm for B1+ mapping. By imposing smoothness constraint on the B1+ map, we are able to determine B1+ with highly under-sampled data. The method is applied to any kind of B1+ mapping methods.

14:00	4860.	Direct Reconstruction of B1 Maps from Undersampled Acquisitions

Francesco Padormo1, Shaihan J. Malik1, Jo V. Hajnal1

1Robert Steiner MRI Unit, Imaging Sciences Department, MRC Clinical Sciences Centre, Hammersmith Hospital, Imperial College London, London, United Kingdom

We present a method utilizing the smoothness of the B1+ field to accelerate flip angle mapping. By randomly undersampling k-space and using a Compressed Sensing type reconstruction, we show that accurate flip angle distributions can be found with only 40% of the original data.

14:30	4861.	Compressed Sensing Reconstruction in the Presence of a Reference Image

Fan Lam1, Diego Hernando1, Kevin F. King2, Zhi-Pei Liang1

1Electrical and Computer Engineering, University of Illinois at Urbana-Champaign, Urbana, IL, United States; 2Global Applied Science Lab, GE Healthcare, Waukesha, WI, United States

In this work, we are addressing the problem on improving compressed sensing reconstruction in the presence of a reference image. A novel algorithm is developped to generate a motion compensated reference image to further improve signal sparsity for a difference image between the reference and the target image to be reconstructed. A compressed sensing reconstruction scheme is proposed to reconstruct the difference image and then the overal reconstruction is constructed by adding the difference image with the reference. The final reconstruction outperforms conventional CS-based reconstruction. The comparison is shown for an interventional imaging experiment.

15:00	4862.	Autocalibrated Approach for the Combination of Compressed Sensing and SENSE

Claudia Prieto1, Benjamin R. Knowles1, Muhammad Usman1, Philip G. Batchelor1, Freddy Odille2, David Atkinson2, Tobias Schaeffter1

1Division of Imaging Sciences, King's College London, London, United Kingdom; 2Centre for Medical Image Computing, University College London, London, United Kingdom

An autocalibrated approach for the combination of Compressed Sensing (CS) and SENSE is proposed. This method is based on the sequential estimation of the coil sensitivity maps using distributed CS followed by image reconstruction using SparseSENSE (or its equivalents), from the same data set. The proposed approach was tested in 2D black-blood atrial wall images with undersampling factors up to 5, showing good image quality. This method does not require extra reference scans and avoids the acquisition of the fully sampled k-space center, which could limit the maximum achievable undersampling factor.

Compressed Sensing II

Hall B	Monday 14:00-16:00		Computer 111

14:00	4863.	Compressed Sensing FMRI Using Optimized Temporal Basis

Hong Jung1, Jong Chul Ye1

1KAIST, Yuseong-Gu, Daejon, Korea, Republic of

Functional MRI (fMRI) has become popular with the developments of echo planar imaging (EPI) sequences. However, EPI needs more image quality improvements for some applications. For example, EPI images suffer from field inhomogeneity artifacts resulting from signal losses in some areas especially around air-tissue interfaces. These artifacts can be minimized with, for example, thin slice thickness. This strategy, however, requires more acquisition time so that temporal resolution or field of view should be sacrificed. In this paper, to address this problem, we applied a compressed sensing dynamic MR imaging algorithm called k-t FOCUSS to fMRI. To resolve degradation of SNR at accelerated acquisition, more number of repetitions of tasks were conducted. Then, from down-sampled k-space data, we obtained accurate brain activation maps for right finger tapping experiments. We verified the reliability of our results by plotting receiver operating characteristic (ROC) curve.

14:30	4864.	Improving the Achievable Temporal Resolution of Compressed Sensing in CE MRA

Bing Wu1,2, Philip Bones1, Anthony Butler1, Richard Watts3, Rick Millane1

1Electrical and computer engineering, University of Canterbury, Christchurch, Canterbury, New Zealand; 2Brain Imaging and Analysis Center, School of Medicine, Duke University, Durham, NC, United States; 3Physics and Astronomy, University of Canterbury, New Zealand

A new data acquisition and image reconstruction method for contrast enhanced (CE) MRA is presented. It is based on Cartesian compressed sensing and incorporates image prior knowledge embedded in the composite data set obtained from time resolved data acquisition.  An acceleration factor that is comparable to that offered by HYPR has been achieved with this new method, on a Cartesian grid.

15:00	4865.	Design of Temporally Constrained Compressed Sensing Methods for Accelerated Dynamic MRI

Julia V. Velikina1, Kevin M. Johnson1, Walter F. Block1, Alexey A. Samsonov1

1University of Wisconsin - Madison, Madison, WI, United States

We present a novel temporally constrained method for reconstruction of dynamic MRI images from undersampled data using second temporal difference. The proposed method is compared to the previously described temporal compressed sensing approaches, including k-t FOCUSS. Performance comparison is done in a series of experiments in digital phantoms and in vivo human volunteer data for phase contrast and contrast-enhanced imaging. The proposed method provided higher accuracy of flow waveform estimations for acceleration factors 8-13.

15:30	4866.	Compressed Sensing Reconstruction with Retrospectively Gated Sampling Patterns for Velocity Measurement of Carotid Blood Flow

Yuehui Tao1, Gabriel Rilling2, Mike Davies2, Ian Marshall1

1Medical Physics, University of Edinburgh, Edinburgh, United Kingdom; 2School of Engineering and Electronics, University of Edinburgh, Edinburgh, United Kingdom

Due to unpredictable heart rate variability, sampling patterns recorded in retrospectively gated dynamic scans appears to be incoherent, which suits the Compressed Sensing framework. Three such sampling patterns recorded in real scans are tested in Compressed Sensing reconstruction with in vivo data from 2D cine phase contrast velocity measurement of carotid blood flow. Both intensity and phase (velocity) errors are examined.

Tuesday 13:30-15:30		Computer 111

13:30	4867.	Adaptive Compressed Sensing MRI

Ricardo Otazo1, Daniel K. Sodickson1

1Center for Biomedical Imaging, New York University School of Medicine, New York, NY, United States

A method to adapt the sparsifying transform in order to increase image sparsity for compressed sensing (CS) is presented. The method updates the sparsifying transform and computes the corresponding sparse coefficient simultaneously using image examples from the undersampled data. We demonstrate improved performance of adaptive CS over standard CS with a pre-defined wavelet transform on a brain imaging example

14:00	4868.	Phase-Sensitive Reconstruction Based on the Orthogonality (PRO) of Under-Sampled MRI

Nan-kuei Chen1

1Brain Imaging and Analysis Center, Duke University, Durham, NC, United States

To improve the scan efficiency of dynamic MRI, the k-space data may be undersampled and then reconstructed using one or more of the conventional strategies: e.g., parallel imaging, partial Fourier method, and 3) UNFOLD technique. Here we report a new algorithm to reconstruct under-sampled data, based on the orthogonality of signals from voxels separated by half of the FOV. The new technique, termed Phase-sensitive Reconstruction based on the Orthogonality (PRO),  performs well for data acquired from single-channel or multi-channel coils, and is complementary to existing fast MRI techniques, enabling further reduction of aliasing artifacts in under-sampled MRI data.

14:30	4869.	A Hybrid L0-L1 Minimization Algorithm for Compressed Sensing MRI

Dong Liang1, Leslie Ying2

1Department of Electrical Engineering and Computer Science , University of Wisconsin-Milwaukee, Milwaukee, WI, United States; 2Department of Electrical Engineering and Computer Science, University of Wisconsin-Milwaukee, Milwaukee, WI, United States

Both L1 and homotopic L0 minimizations have been used in compressed-sensing MRI reconstruction. In this abstract, we propose a homotopic L0-L1 hybrid minimization algorithm such that it has the benefit of both L1 and homotopic L0 minimizations. The proposed algorithm minimizes the L0 quasi-norm of large transform coefficients but the L1 norm of small transform coefficients for the image to be reconstructed. The simulation results show the proposed algorithm outperforms both L1 and homotopic L0 minimization algorithms when the same reduction factor is used.

15:00	4870.	Impact of Coil Sensitivity Estimation on MRI Reconstruction Methods Combining Compressed Sensing and Parallel MRI

Seunghoon Nam1,2, Mehmet Akçakaya1,2, Peng Hu2, Warren Manning2, Vahid Tarokh1, Reza Nezafat2

1Harvard University, Cambridge, MA, United States; 2Beth Israel Deaconess Medical Center, Harvard Medical School, Boston, MA, United States

MRI reconstruction methods combining parallel MRI and compressed sensing (CS) have been recently proposed to accelerate image acquisition and showed great promise. Inherited from parallel MRI, these techniques utilize the coil sensitivity information in their reconstruction procedure. The quality of reconstructed image is affected by the quality of coil sensitivity estimation and different reconstruction methods have different susceptibilities to the coil sensitivity estimation depending on how the coil sensitivity is used in their reconstruction. In this study, we investigate the impact of coil sensitivity estimation on two reconstruction methods: SparseSENSE and distributed CS-SENSE.

Wednesday 13:30-15:30	Computer 111

13:30	4871.	Improved K-T FOCUSS Using a Sparse Bayesian Learning

Hong Jung1, Jong Chul Ye1

1KAIST, Yuseong-Gu, Daejon, Korea, Republic of

In dynamic MRI, spatio-temporal resolution is a very important issue. Recently, compressed sensing approach has become a highly attracted imaging technique since it enables accelerated acquisition without aliasing artifacts. Our group has proposed an l1-norm based compressed sensing dynamic MRI called k-t FOCUSS which outperforms the existing methods. However, it is known that the restrictive conditions for l1 exact reconstruction usually cost more measurements than l0 minimization. In this paper, we adopt a sparse Bayesian learning approach to improve k-t FOCUSS and achieve l0 solution. We demonstrated the improved image quality using cardiac cine imaging.

14:00	4872.	Breath-Held Highly-Accelerated 2D Fourier-Velocity Encoded MRI Using Compressed Sensing

Luca Marinelli1, Kedar Khare1, Kevin F. King2, Christopher J. Hardy1

1GE Global Research Center, Niskayuna, NY, United States; 2GE Healthcare, Waukesha, WI, United States

We optimized a  pulse sequence for accelerated 2D Fourier-velocity-encoded (FVE) MRI to measure blood-velocity in disturbed flows using compressed sensing and developed a fast and accurate reconstruction algorithm. 2D Fourier-velocity-encoded M-mode MRI provides a non-invasive probe of 2D velocity distributions that cannot be measured by other modalities such as Doppler ultrasound but can be exceedingly time consuming. Unlike conventional imaging, parallel imaging cannot be utilized to reduce number of velocity encoding steps. Scan time was reduced enough to fit the acquisition in a single breath-hold, achieving a 20x overall scan-time reduction relative to the fully sampled acquisition.

14:30	4873.	Parameter-Free Reconstruction of Highly Undersampled MR Angiography  Images Using Gradient Descent with Sparsification

Nicole Seiberlich1, Hyun J. Jeong2, Timothy J. Carroll2, Mark A. Griswold1,3

1Radiology, Case Western Reserve University, Cleveland, OH, United States; 2Radiology, Northwestern University, Chicago, IL, United States; 3Biomedical Engineering, Case Western Reserve University, Cleveland, OH, United States

Gradient Descent with Sparsification, a novel image reconstruction technique, has been applied to the generation of images from highly undersampled MR Angiography data. Unlike other techniques, this method can be implemented using no external para-meters, allowing completely unsupervised reconstructions. The extremely high acceleration factors shown here are made possible by initializing a given time frame with the previous frame, such that only differences must be reconstructed. Temporal resolutions of 180ms/frame have been achieved by undersampling the collected data by a factor of R~75 (using 4 projections per partition per frame) with no venous contamination and little residual streaking or blurring.

15:00	4874.	Clinical Image Quality Assessment of CS-Reconstructed Brain Images

Samir D. Sharma1, Caroline Fong2, Brian Tzung2, Krishna S. Nayak1, Meng Law2

1Department of Electrical Engineering, University of Southern California, Los Angeles, CA, United States; 2Department of Radiology, University of Southern California, Los Angeles, CA, United States

Compressed Sensing (CS) is a relatively new method for MR image reconstruction from undersampled k-space data.  While other acceleration techniques, like parallel imaging, are common in clinical protocols, the role of CS in clinical imaging remains an open question.  In this work we perform a double-blind assessment of CS-MRI image quality by neuroradiologists.  Preliminary results suggest the potential for at least 3x acceleration without significant loss in image quality.

Thursday 13:30-15:30	Computer 111

13:30	4875.	Novel Algorithm for L1 Wavelet-Based MR Image Reconstruction

Matthieu Guerquin-Kern1, Maximilian Häberlin2, Michael Unser1, Klaas P. Pruessmann2

1Biomedical Imaging Group, Ecole polytechnique fédérale de Lausanne, Lausanne, Vaud, Switzerland; 2Institute for Biomedical Engineering, University and ETH Zurich, Zürich, Switzerland

The wavelet-based reconstruction that is proposed yields encouraging results compared to more popular reconstructions and is optimized to reduce reconstruction duration.

14:00	4876.	Accelerated Serial MR Imaging in Multiple Sclerosis Using Baseline Scan Information

Alexey A. Samsonov1, Julia V. Velikina2, John O. Fleming3, Mark L. Schiebler1, Aaron S. Field1

1Department of Radiology, University of Wisconsin, Madison, WI, United States; 2Department of Medical Physics, University of Wisconsin, Madison, WI, United States; 3Department of Neurology, University of Wisconsin, Madison, WI, United States

In this work, we present a method to accelerate MS imaging in longitudinal studies through acquisition of fully sampled images at the baseline scan and accelerated undersampled data at follow-ups.  W investigated feasibility to accelerate serial scanning of MS patients with 3D pulse sequences (T2 FLAIR and T1 weighted after Gd administration).  Our results indicate that the proposed technique has a potential to produce high-quality images from significantly accelerated reduced follow-up acquisition (up to 8 times) and correctly depict T2 and Gd+ lesion load and anatomical content.

14:30	4877.	A New Approach to Incorporate Image  Prior Estimate in Compressed Sensing

Bing Wu1,2, Philip Bones1, Richard Watts3, Rick Millane1

1Electrical and computer engineering, University of Canterbury, Christchurch, Canterbury, New Zealand; 2Brain Imaging and Analysis Center, School of Medicine, Duke University, Durham, NC, United States; 3Physics and Astronomy, University of Canterbury, New Zealand

The success level of compressed sensing (CS) reconstruction is fundamentally limited by the sparsity of the underlying image. A data sorting process can be incorporated in the CS recovery to improve the sparsity of the underlying image based on the knowledge of an image prior estimate. We here show that performing a data sorting effectively incorporates the image prior estimate in the CS reconstruction.

15:00	4878.	Improved Coil Sensitivity Estimation for SENSE Using Compressed Sensing

Bing Wu1, Chunlei Liu1

1Brain Imaging and Analysis Center, School of Medicine, Duke University, Durham, NC, United States

The conventional approach of deriving coil sensitivity profile for SENSE reconstruction using a small number of auto-calibration scan lines limits the fidelity of the coil sensitivity estimate, and hence the quality of SENSE reconstructions.  However estimating coil sensitivity from under-sampled k-space data set is an under-determined problem, and previous attempts resort to additional regularizing terms that may affect the accuracy of the outcome. We present a new compress sensing based approach that allows the coil sensitivity profile to be estimated using all the acquired data measurements to achieve improved coil sensitivity estimate, which in turn leads to an improved SENSE reconstruction.

Parallel Imaging & Compressed Sensing

Hall B	Monday 14:00-16:00		Computer 112

14:00	4879.	Toward Clinically Applicable Highly-Accelerated SENSE

Feng Huang1, Yunmei Chen2, Xiaojing Ye2, Wei Lin1, Yu Li1, Arne Reykowski1

1Invivo Corporation, Gainesville, FL, United States; 2Department of Mathematics, University of Florida, Gainesville, FL, United States

Recently, many advanced technologies have been proposed to improve the quality of images reconstructed by SENSE with high acceleration factors. However, success of these methods needs one or more following conditions: long reconstruction time, special acquisition trajectory, or expertise on parameter choice. These requirements have hindered their clinical applicability. In this work, a novel technique based on variable splitting is proposed to tackle these problems. Mathematical proof and experimental results demonstrate that the proposed method significantly improves the clinical applicability of highly-accelerated SENSE because of low reconstruction error, fast reconstruction, insensitivity to the choice of parameters, and regular Cartesian trajectory

14:30	4880.	Combining Nonconvex Compressed Sensing and GRAPPA Using the Nullspace Method

Daniel Stuart Weller1, Jonathan R. Polimeni2,3, Leo J. Grady4, Lawrence L. Wald2,3, Elfar Adalsteinsson1, Vivek K. Goyal1

1Research Laboratory of Electronics, Massachusetts Institute of Technology, Cambridge, MA, United States; 2A.A. Martinos Center, Department of Radiology, Massachusetts General Hospital, Charlestown, MA, United States; 3Harvard Medical School, Boston, MA, United States; 4Imaging and Visualization, Siemens Corporate Research, Princeton, NJ, United States

This work combines GRAPPA, a parallel image reconstruction method, with compressed sensing in a joint optimization framework.  To enforce consistency with the acquired data, the optimization problem operates in the nullspace of the sampling pattern, which more accurately preserves the acquired data than a data feasibility penalty in the objective.  The L0 penalty was approximated using a continuation procedure with a differentiable nonconvex regularizer.  The proposed method was implemented using an iterative reweighted least squares routine.  The combined method was applied to highly under-sampled MPRAGE data.  This approach reconstructed images at higher quality than GRAPPA and CS alone.

15:00	4881.	A New Combination of Compressed Sensing and Data Driven Parallel Imaging

Kevin King1, Dan Xu1, Anja CS Brau2, Peng Lai2, Philip J. Beatty2, Luca Marinelli3

1Global Applied Science Lab, GE Healthcare, Waukesha, WI, United States; 2Global Applied Science Lab, GE Healthcare, Menlo Park, CA, United States; 3Global Research Center, General Electric, Niskayuna, NY, United States

Compressed sensing and data driven parallel imaging can be combined in a serial approach in which randomly undersampled data are reconstructed onto a uniformly undersampled k-space grid using compressed sensing.  Parallel imaging uses this uniformly undersampled data plus the auto-calibration data to create a fully sampled k-space grid.  The serial approach allows the acceleration to be split between compressed sensing and parallel imaging.  Each method solves a problem with better conditioning than if the full acceleration were used.  Any data driven parallel imaging method, such as GRAPPA, ARC or SPIRIT can be used without modification using this approach.

15:30	4882.	Improved Compressed Sensing Reconstruction for Equidistant K-Space by Sampling Decomposition and Its Application in Parallel MR Imaging

Jun Miao1,2, Weihong Guo3, David L. Wilson1,4

1Biomedical Engineering, Case Western Reserve University, Cleveland, OH, United States; 2Siemens Corporate Research, Princeton, NJ, United States; 3Mathematics, Case Western Reserve University, Cleveland, OH, United States; 4Radiology, University Hospitals of Cleveland

Incoherent sampling requirement is a bottleneck for application of compressed sensing (CS) in parallel MR imaging. Thus, a direct plug-in of CS to parallel imaging, especially in the case of equidistant k-space sampling, is not feasible. We propose a simple method to eliminate this problem by sampling decomposition and illustrate the idea using GRAPPA reconstruction. Significant improvement in image quality can be achieved with even less k-space acquisition.

Tuesday 13:30-15:30		Computer 112

13:30	4883.	l1-Denoised Autocalibrating Parallel Imaging

Tao Zhang1, Michael Lustig1,2, Shreyas Vasanawala3, John Mark Pauly1

1Electrical Engineering, Stanford University, Stanford, CA, United States; 2Electrical Engineering and Computer Science, UC Berkeley, Berkeley, CA, United States; 3Radiology, Stanford University, Stanford, CA, United States

In this study, sequential parallel imaging and compressed sensing (CS) are applied to suppress noise and improve image quality. A noise covariance matrix constructed from the GRAPPA interpolation kernels are used to "intelligently inform" the CS optimization about the confidence level of each GRAPPA reconstructed entry. The experiment results show that the proposed method can efficiently suppress noise.

14:00	4884.	Acceleration of IDEAL Water-Fat Imaging Using Compressed Sensing

Samir D. Sharma1, Harry H. Hu1, Krishna S. Nayak1

1Department of Electrical Engineering, University of Southern California, Los Angeles, CA, United States

IDEAL is a robust iterative technique for estimating water and fat signals on a voxel-basis, based on multi-echo data.  In each iteration, two least-squares problems are solved.  In this work, we reformulate each of the least-squares problems and solve them via Compressed Sensing (CS).  We exploit the compressibility of both the water and fat images as well as smoothness of the field map to regularize our underdetermined systems of equations.  The result is an up to 3x acceleration from the conventional IDEAL method.

14:30	4885.	Image Quality Parameters in MR Images, Reconstructed by Using Compressed Sensing

Tobias Wech1, Marcel Gutberlet1, Daniel Stäb1, Dietbert Hahn1, Herbert Köstler1

1Institute of Radiology, University of Wuerzburg, Wuerzburg, Bavaria, Germany

Compressed sensing allows reconstructing undersampled data in the presence of sparse or compressible signals. However, up to now there are no studies that examine basic imaging parameters like image noise and spatial resolution for compressed sensing. In this work, methods were introduced to determine image quality parameters suitable for compressed sensing reconstructions and applied to to the compressed sensing of cardiac CINE imaging.

15:00	4886.	Spike Artifact Reduction in Nonconvex Compressed Sensing

Thomas Christian Basse-Luesebrink1,2, Thomas Kampf1, Andre Fischer1,3, Gesa Ladewig2, Guido Stoll2, Peter Michael Jakob1,3

1Experimental Physics 5, University of Wuerzburg, Wuerzburg, Germany; 2Neurology, University of Wuerzburg, Wuerzburg, Germany; 3Research Center for Magnetic Resonance Bavaria (MRB), Wuerzburg, Germany

Compressed sensing (CS), a reconstruction method for undersampled MR data, allows a significant reduction in experiment time. 19F MR is a suitable target for CS since the 19F signal distribution in vivo is sparse. However, spike artifacts appear highly pronounced in nonconvex CS reconstructions of noisy 19F MR data. The present study focuses on the reduction of spike artifacts in these CS reconstructions. Therefore, a post-processing "de-spike algorithm" is proposed, using the fact that the spatial position of spike artifacts depends on the chosen sampling pattern. Numerical phantom simulations as well as ex- and in-vivo 19F CSI experiments were performed.

Wednesday 13:30-15:30	Computer 112

13:30	4887.	Dictionary Design for Compressed Sensing MRI

Ali Bilgin1,2, Yookyung Kim2, Feng Liu2, Mariappan S. Nadar3

1Biomedical Engineering, University of Arizona, Tucson, AZ, United States; 2Electrical and Computer Engineering, University of Arizona, Tucson, AZ, United States; 3Siemens Corporation, Corporate Research, Princeton, NJ, United States

The recently introduced Compressed Sensing (CS) theory promises to accelerate data acquisition in MRI. In this work, we propose a framework for designing and utilizing sparse dictionaries in CS MRI applications. Reconstruction results demonstrate that the proposed technique can yield significantly improved image quality compared to commonly used sparsity transforms in CS MRI.

14:00	4888.	19F-Compressed-Sensing-CISS: Elimination of Banding Artifacts in 19F Bssfp MRI/CSI Without 
Sacrificing Time

Thomas Christian Basse-Luesebrink1,2, Andre Fischer1,3, Thomas Kampf1, Volker Sturm1, Gesa Ladewig2, Guido Stoll2, Peter Michael Jakob1,3

1Experimental Physics 5, University of Wuerzburg, Wuerzburg, Germany; 2Neurology, University of Wuerzburg, Wuerzburg, Germany; 3Research Center for Magnetic Resonance Bavaria (MRB), Wuerzburg, Germany

Balanced ssfp (bssfp) MRI and CSI sequences show banding artifacts in either the image domain or the spectral domain. Those artifacts can be eliminated using a constructive interference in the steady state (CISS) technique. This, however, prolongs experiment times due to the need of additional experiments with different phase cycles. Compressed sensing (CS), a reconstruction method for undersampled MR data allows reduction in measurement time. The present study focuses on the application of CS in bssfp 19F-MRI/CSI in order to gain enough time for the acquisition of additional experiments with different phase cycles for CISS reconstruction.

14:30	4889.	Compressed Sensing with a Priori Information for Reconstruction of Remotely Detected Microfluidic Devices

Thomas Z. Teisseyre1,2, Jeffrey Paulsen2, Vik Bajaj2, Nicholas Halpern-Manners2,3, Alexander Pines2,3

1Bioengineering, UC Berkeley/UCSF, Berkeley, CA, United States; 2Materials Sciences Division, Lawrence Berkeley National Lab, Berkeley, CA, United States; 3Chemistry, UC Berkeley, Berkeley, CA, United States

We developed a novel reconstruction technique for remotely detected microfluidic NMR using prior knowledge about the chip geometry. This technique allows significant amounts of subsampling for shorter acquisition times.

15:00	4890.	MR Rician Noise Reduction in Diffusion Tensor Imaging Using Compressed Sensing by Sampling Decomposition

Jun Miao1, Wen Li1, Sreenath Narayan1, Xin Yu1, David L. Wilson1,2

1Biomedical Engineering, Case Western Reserve University, Cleveland, OH, United States; 2Radiology, University Hospitals of Cleveland

Reduction of Rician noise in MRI is very much desired, particularly in low signal-to-noise ratio (SNR) images such as diffusion tensor imaging. We used compressed sensing to reduce noise by decomposing full k-space data into multiple sets of incoherent subsamples, reconstructing full k-space individually, and aggregate them to be the final k-space data. Noise can be significantly suppressed in image and fractional anisotropy (FA) estimation can be significantly improved.

Thursday 13:30-15:30	Computer 112

13:30	4891.	Feasibility Study of Combining CS with SENSE for Catheter Visualization in MR Endovascular Intervention

Jérôme Yerly1,2, Michel Louis Lauzon, 23, Richard Frayne, 23

1Department of Electrical and Computer Engineering, University of Calgary, Calgary, Alberta, Canada; 2Seaman Family MR Research Centre, Foothills Medical Centre, Calgary, Alberta, Canada; 3Departments of Radiology, and Clinical Neurosciences, University of Calgary, Calgary, Alberta, Canada

MR imaging is a promising alternative to x-ray fluoroscopy for guiding/monitoring catheters in endovascular intervention by offering many advantages. Conventional MR imaging has insufficient temporal resolution, but accelerated approaches such as sensitivity encoding (SENSE) and compressed sensing (CS) prove favorable via accurate reconstruction of undersampled k-space datasets. Since SENSE relies on coil sensitivity whereas CS depends on sparsity to recover the missing information, it may be advantageous to combine these two different methodologies. Previously, we demonstrated that CS alone accurately reconstructs catheter images. Here, we extend our catheter image reconstructions and investigate the potential of sequentially combining CS with SENSE.

14:00	4892.	Coarse-To-Fine Iterative Reweighted L1-Norm Compressed Sensing for Dynamic Imaging

Michael Lustig1,2, Julia Velikina3, Alexey Samsonov3, Chuck Mistretta3,4, John Mark Pauly2, Michael Elad5

1Electrical Engineering and Computer Science, University of California Berkeley, Berkeley, CA, United States; 2Electrical Engineering, Stanford University, Stanford, CA, United States; 3Medical Physics, University of Wisconsin-Madison, Madison, WI, United States; 4Radiology, University of Wisconsin-Madison, Madison, WI, United States; 5Computer Science, Technion IIT, Haifa, Israel

A coarse-to-fine compressed sensing (CS) reconstruction for dynamic imaging is presented. It is inspired by the composite image constraint in HYPR-like processing. At each temporal scale, a “composite” image is reconstructed using a CS reconstruction.  The result is used as an initial image for the next finer scale. In addition it is used to generate weighting of the l1-norm in the CS reconstruction, promoting sparsity at locations that appear in the composite.  Reconstruction from highly undersampled DCE-MRA is demonstrated.

14:30	4893.	Efficient Randomly Encoded Data Acquisition for Compressed Sensing

Eric C. Wong1

1Radiology and Psychiatry, UC San Diego, La Jolla, CA, United States

Compressed sensing (CS) allows for efficient extraction of information from MR data, and benefits from incoherent sampling.  We propose here an imaging strategy that simultaneously produces high steady state signal, high A/D duty cycle, and pseudo-random sampling functions, and is therefore both SNR efficient and amenable to CS reconstruction.  The method uses rapid low flip angle pulses of random phase, along with a rosette gradient trajectory to produce an array of coherence pathways.  Simulated data and reconstruction demonstrate simultaneous estimation of proton density, T2, and field maps from under-sampled data.

15:00	4894.	Faster Acquisition of MR Images with Double Quantum Filtering by Regularization

Genevieve Guillot1, Yongchao Xu1, Slawomir Kusmia1, Hadia Hanachi1, Jean-François Giovannelli2, Alain Herment3

1U2R2M UMR8081 CNRS, Orsay, France, France; 2LAPS / IMS UMR5218, Bordeaux, France, France; 33-	LIF U678 INSERM / UMR-S UPMC, Paris, France, France

MRI with Double Quantum Filter (DQF) gives a direct access to water linked to macromolecules, but requires 16 up to 64 repetitions of the acquisition scheme with different phases of the RF pulses in the DQ filter to select the DQ signal. We reduced the number of phase encoding lines kept in the data for each DQF step, employing a regularization method to compute each image. The acquisition time could be reduced by 2/3 without any significant loss of contrast and minor loss of contrast on contours. Even faster acquisition should be possible with radial or spiral k-space trajectories.

Topics in Parallel Imaging

Hall B	Monday 14:00-16:00		Computer 113

14:00	4895.	Noise-Facilitated GRAPPA Reconstruction for FMRI

Hu Cheng1, Wei Lin2, Feng Huang2

1Indiana University, Bloomington, IN, United States; 2Invivo Diagnostic Imaging, Gainesville, FL, United States

In fMRI, temporal SNR is the main concern in the optimization of parallel imaging algorithms such as GRAPPA. It is shown in this work that adding noise to the auto-calibration signal (ACS) region of GRAPPA data can increase the temporal SNR of fMRI series, with a minimal impact on image quality.  Simulation on the EPI images of a phantom and human subject demonstrated that image quality can be improved by adding a certain amount of noise to the raw data of reference scans, while the temporal SNR can be further improved with a higher level of additive ACS noise.

14:30	4896.	Undersampled Multi Coil Image Reconstruction for Fast FMRI Using Adaptive Linear Neurons

Thimo Grotz1, Benjamin Zahneisen1, Marco Reisert1, Maxim Zaitsev1, Jürgen Hennig1

1Dept. of Diagnostic Radiology, Medical Physics, University Hospital Freiburg, Freiburg, Germany

Standard fMRI experiments have a rather limited temporal resolution of 1-3s. The temporal resolution of fMRI experiments can be increased by an order of magnitude by acquiring less k-space and using a high number of receive channels. Image reconstruction is thus an ill-posed inverse problem. Here we would like to introduce a new approach, based on neural networks, to reconstruct the undersampled fMRI data that offers a significantly improved point spread function with reduced spatial spread and hence improved spatial localization of activation.

15:00	4897.	Time Dependent Regularization for Functional Magnetic Resonance Inverse Imaging

Aapo Nummenmaa1,2, Matti S. Hamalainen1, Fa-Hsuan Lin1,3

1MGH-MIT-HMS Athinoula A. Martinos Center for Biomedical Imaging, Charlestown, MA, United States; 2Department of Biomedical Engineering and Computational Science, Helsinki University of Technology, Espoo, Finland; 3Institute of Biomedical Engineering, National Taiwan University, Taipei, Taiwan

We propose a novel method for time dependent regularization of functional magnetic resonance Inverse Imaging (InI). A Variational Bayesian approximation with a dynamic model for the regularization is constructed to obtain an automatic, temporally adaptive estimation algorithm. The proposed method is compared with the standard Minimum-Norm Estimate (MNE) by using simulated InI data. The dynamic dMNE shows significant improvements in determining the activation onset from the baseline period.

15:30	4898.	Magnetic Resonance Multi-View Inverse Imaging (MV InI) for Human Brain

Kevin Wen-Kai Tsai1, Thomas Witzel2, Fa-Hsuan Lin1,3

1Institute of Biomedical Engineering, National Taiwan University, Taipei, Taiwan; 2A. A. Martinos Center; 3A. A. Martinos Center, Massachusetts General Hospital, Charlestown, MA, United States

To solve the anisotropic spatial resolution of MR inverse imaging (InI) reconstruction method, we propose the multi-view InI (MV InI) to using a few projections and a highly parallel detection to achieve high spatiotemporal MR dynamic imaging. Specifically, we used three orthogonal projections and a 32-channel head coil array to achieve the effective TR of 300 ms and 4 mm3 isotropic spatial resolution. We demonstrated the acquisitions and reconstruction of MV InI using in vivo data. This method achieved a 8 times faster temporal resolution than conventional multi-slice EPI acquisitions.

Tuesday 13:30-15:30		Computer 113

13:30	4899.	Homotopic l0 Minimization Technique Applied to Dynamic Cardiac MR Imaging

Muhammad Usman1, Philip G. Batchelor1

1King's College London, London, United Kingdom

The L1 minimization technique has been empirically demonstrated to exactly recover an S-sparse signal with about 3S-5S measurements. In order to get exact reconstruction with smaller number of measurements, recently, for static images, Trzasko has proposed homotopic L0 minimization technique. Instead of minimizing the L0 norm which achieves best possible theoretical bound (approximately 2S measurements) but is a NP hard problem or L1 norm which is a convex optimization problem but requires more measurements, the homotopic technique minimizes iteratively the continuous approximations of the L0 norm. In this work, we have extended the use of homotopic L0 method to dynamic MR imaging. For dynamic 2D CINE data, using five different non-convex functional approximations to L0 norm, we have compared the performance of homotopic L0 minimization technique with the standard L1 method.

14:00	4900.	Fast Time-Resolved Cine Sequence Using Temporal Regularization for Small Animal Cardiac Imaging on a Clinical 3T Scanner

Bénédicte Delattre1, Vincent Braunersreuther2, Jean-Noël Hyacinthe1, Jean-Paul Vallée1, Dimitri Van De Ville3,4

1University of Geneva - Faculty of medicine, Geneva, Switzerland; 2Division of Cardiology - Department of Medicine, Geneva University Hospital - Foundation for medical researchers, Geneva, Switzerland; 3Department of Radiology and Medical Informatics - University of Geneva, Geneva, Switzerland; 4Institute of Bioengineering - Ecole Polytechnique Fédérale de Lausanne, Lausanne, Switzerland

Small animal cardiac imaging on clinical scanners allows contributing effectively to translational medicine. However, hardware limitations prevent obtaining the same space and time resolution than with dedicated instrumentation. Here, we propose a novel method to improve time resolution for cardiac mouse imaging. By combining two fast repetitions with temporal regularization based on l1-minimization in the Fourier domain, we achieve a TR=6.5 ms with an in-plane resolution of 257 μm2 and reduce efficiently artifacts resulting from the combination of the two repetitions.

14:30	4901.	Four-Dimensional Analytical Cardiac Magnetic Resonance Imaging Phantom in the Fourier Domain

David Moratal1, Lei Hou Hamilton2, Senthil Ramamurthy3, Marijn Eduard Brummer3

1Universitat Politècnica de València, Valencia, Spain; 2Georgia Institute of Technology, Atlanta, GA, United States; 3Emory University, Atlanta, GA, United States

The value of a standardized simulation phantom to test and compare reconstruction methods for cardiac imaging has become evident during last years. In this work, a 4D analytical phantom in the Fourier domain is proposed, aimed to serve as a flexible, objective, standardized benchmark for evaluation and comparison of different image reconstruction techniques in dynamic 3D MRI. It can be used to compare different non-Cartesian encoding schemes and reconstruction methods, as well as different cardiac MRI acceleration strategies. The k-space signal for the 4D phantom can be evaluated analytically and sampled accordingly to any chosen k-space trajectory or encoding scheme.

15:00	4902.	RF Excitation Encoding: A Fast Imaging Technique for Dynamic Studies

Yanle Hu1, Gary H. Glover2

1Imaging Research Center, University of Texas at Austin, Austin, TX, United States; 2Department of Radiology, Stanford University, Stanford, CA, United States

Fast imaging techniques based on under-sampling are all approaching the problem from the acquisition side. Less effort has been involved in exploring the possibility of speeding up image acquisition from the excitation side. Although parallel excitation is focused on the excitation side, it is typically used to reduce the RF pulse duration rather than accelerate image acquisition. In this work, a new technique is introduced to speed up image acquisition from the excitation side. This technique is independent of other techniques focused on the acquisition side and thus may be combined with them to achieve a higher acceleration factor.

Wednesday 13:30-15:30	Computer 113

13:30	4903.	Analytic Image SENSE Reconstruction for Dynamic PMRI

Josiane Yankam Njiwa1, Christof Baltes1, Markus Rudin1,2

1ETH-University Zurich, Institute for Biomedical Engineering, Zurich, Switzerland; 2University Zurich, Institute of Pharmacology & Toxicology, Zurich, Switzerland

Dynamic susceptibility (DSC) MRI is increasingly being used to evaluate cerebral microcirculation. In this study is proposed an acquisition scheme, combining partial k-space sampling and pMRI, allowing higher gains for DSC perfusion measurements in small animals. Three male Lewis rats were imaged and a T2*- weighted FLASH sequence was performed for data acquisition. The results show that the used method satisfactory reconstruct DSC-MRI while preserving a good reconstruction quality and image characteristics compared to the non-accelerated and SENSE reconstructed image series. The combination of an Analytic Image based reconstruction with SENSE to reconstruct the images series increase the temporal resolution.

14:00	4904.	Application of Hybrid Through-Time/k-Space Radial GRAPPA Calibration to Real-Time Cardiac Imaging

Nicole Seiberlich1, Philipp Ehses2, Jeffrey L. Duerk, 1,3, Robert Gilkeson1, Mark A. Griswold1,3

1Radiology, Case Western Reserve University, Cleveland, OH, United States; 2Experimentelle Physik V, Universitaet Wuerzburg, Wuerzburg, Germany; 3Biomedical Engineering, Case Western Reserve University, Cleveland, OH, United States

While standard radial GRAPPA can be used to reconstruct images with low undersampling factors, its primary assumption (that segments of the radial lines can be approximated as Cartesian) breaks down at high acceleration factors. A new through-time calibration method has recently been proposed; this method yields high image quality, but requires large numbers of calibration frames. The method proposed here uses through-k-space segments as well as repetitions through time to reduce the number of calibration frames needed while maintaining image quality. This hybrid radial GRAPPA calibration method is demonstrated for real-time, ungated cardiac acquisitions with frame rates of 43 ms.

14:30	4905.	On the Optimal Acceleration of Time-Resolved 3D Imaging Using GRAPPA

Bernd André Jung1, Simon Bauer1, Michael Markl1

1Dept. of Diagnostic Radiology, Medical Physics, University Hospital, Freiburg, Germany

The aim of this work was to explore how to optimally undersample and reconstruct time-resolved 3D data using GRAPPA. Two different data sets were acquired in a moving phantom with isotropic and anisotropic data matrices. Reconstruction was performed with 3D- (kx,ky,t) and 4D-kernel (kx,ky,kz,t) configurations. For the symmetric data matrix, it was demonstrated that the 4D-kernel configuration leads to better results in terms of error behaviour. However, in a more realistic anisotropic data matrix typically used in clinical applications the different kernel configurations show an opposite behaviour. Furthermore, noise enhancement for 4D-kernel configuration was more pronounced compared to 3D-configurations.

15:00	4906.	A Nonlinear GRAPPA Method for Improving SNR

Yuchou Chang1, Dong Liang1, Leslie Ying1

1Electrical Engineering and Computer Science, University of Wisconsin-Milwaukee, Milwaukee, WI, United States

This abstract presents a nonlinear GRAPPA method to address the poor SNR of GRAPPA at high reduction factors. The method is motivated by the fact that nonlinear filtering usually outperforms linear ones in denoising. The proposed method uses a nonlinear combination of the acquired k-space data to estimate the missing data. The experimental results demonstrate that the proposed method is able to improve the SNR of GRAPPA at high reduction factors.

Thursday 13:30-15:30	Computer 113

13:30	4907.	Generalized PRUNO Kernel Selection by Using Singular Value Decomposition (SVD)

Jian Zhang1, Chunlei Liu2, Michael Moseley3

1Department of Electrical Engineering, Stanford University, Stanford, CA, United States; 2Brain Imaging and Analysis Center, Duke University Medical Center, Durham, NC, United States; 3Department of Radiology, Stanford University, Stanford, CA, United States

Parallel Reconstruction Using Null Operations (PRUNO) is an iterative k-space based reconstruction method for Cartesian parallel imaging. One particular challenge in PRUNO is to select a set of proper nulling kernels. In this work, we demonstrate an improved kernel selection strategy to create generalized PRUNO kernels from the Singular Value Decomposition (SVD) of calibration data. Furthermore, by introducing composite kernels prior to the conjugate-gradient (CG) reconstruction, the reconstruction time wouldn’t increase much when a large number of kernels are used. These new strategies boost the robustness of PRUNO with faster algorithm convergence and lower noise sensitivity.

14:00	4908.	Image Reconstruction from Phased-Array Mri Data Based on Multichannel Blind Deconvolution

Huajun She1, RongRong Chen1, Dong Liang2, Yuchou Chang2, Leslie Ying2

1Department of Electrical and Computer Engineering, University of Utah, Salt Lake City, UT, United States; 2Department of Electrical Engineering and Computer Science, University of Wisconsin-Milwaukee, Milwaukee, WI, United States

In this abstract we consider image reconstruction from multichannel phased array MRI data without prior knowledge of the coil sensitivity functions. A new framework based on multichannel blind deconvolution (MBD) is developed for joint estimation of the image function and the sensitivity functions in k-space. By exploiting the smoothness of the image and sensitivity functions in the spatial domain, we develop a regularized MBD method to obtain both the image function and sensitivity functions. Simulation and in vivo experimental results demonstrate that the proposed method reconstructs images with more uniform intensity than the SoS method does.

14:30	4909.	KLT-GRAPPA: A New Method to Estimate Auto-Calibration Signal in Dynamic Parallel Imaging

Yu Ding1, Mihaela Jekic1, Yiu-Cho Chung2, Orlando P. Simonetti1

1The Ohio State University, Columbus, OH, United States; 2Siemens Medical Solutions, Columbus, OH, United States

TSENSE and TGRAPPA are widely used parallel acquisition methods that can dynamically update the sensitivity map to accommodate variations caused by physiological motion. These methods use temporal low-pass filtering or sliding window averaging  to estimate a dynamically changing sensitivity map. We propose to use the Karhunen-Loeve Transform filter to generate a frame-by-frame estimate of the time-varying channel sensitivity. In-vivo experiments showed that the new method significantly reduces the artifact level in TGRAPPA reconstruction compared to traditional approaches.

15:00	4910.	Auto-Calibrated Parallel Imaging Using a Distortion-Optimal Filter-Bank

Behzad Sharif1, Yoram Bresler1

1Electrical and Computer Engineering, Coordinated Science Laboratory, University of Illinois at Urbana-Champaign, Urbana, IL, United States

We presented a k-space-based self-calibrating parallel MRI reconstruction technique, dubbed ACSIOM, which estimates a GRAPPA-type interpolation kernel by jointly minimizing data inconsistency and aliasing distortion. In imaging scenarios where high effective acceleration is desired, the capability to reconstruct artifact-free images with minimal amount of reference (auto-calibration scan) data is needed. In such cases, we have shown that ACSIOM outperforms two different implementations of GRAPPA. The results indicate that improved image quality, and thus greater scan time reductions compared to GRAPPA can be achieved.

RF Shimming & Parallel RF

Hall B	Monday 14:00-16:00		Computer 114

14:00	4911.	Combination of Basic and Tailored RF Shimming Using Curved Spoke Trajectories

Ulrich Katscher1, Peter Börnert1

1Philips Research Europe, Hamburg, Germany

Generally, two RF shimming approaches are reported. The first approach, "basic" RF shimming via adjusting the channels’ drive weights, is stable and fast, however, has limited shimming potential. The second approach, "tailored" RF shimming via multidimensional RF pulses, is more complex and requires significant sequence modifications, however, has superior shimming potential. This study investigates a compromise combining the advantages of both approaches. It applies a slight curvature of the "straight" k-space trajectory of standard slice selective excitation, maintaining short pulse durations, and sharp slice profiles. Simultaneously, it allows higher freedom for in-plane B1 variation, yielding an enhanced shimming potential.

14:30	4912.	A New Class of Encoding Techniques Using a Transmit Array: Illustration with Cylindrical Encoding

Emre Kopanoglu1,2, Adil Firat Yilmaz1,2, Taner Demir2, Vakur B. Erturk1, Ergin Atalar1,2

1Electrical and Electronics Engineering, Bilkent University, Ankara, Turkey; 2UMRAM - National Research Center for Magnetic Resonance , Ankara, Turkey

In nearly all magnetic resonance imaging applications, data encoding is made by gradient coils, which limit the slice to a plane and the field-of-view (FOV) to a rectangle although the region-of-interest (ROI) can have an arbitrary shape. In this paper we propose a novel encoding scheme for arbitrarily shaped slices, so that the need to get unnecessary data from outside the ROI is eliminated. The proposed method uses multi-dimensional pulses for slice selection and RF pulses to encode the data instead of gradient coils, hence a slice with an arbitrary shape and FOV can be selected.

15:00	4913.	Comparison of Whole Body Transmit Coil Configurations for RF Shimming at 3T

Kay Nehrke1, Ulrich Katscher1, Peter Börnert1, Ingmar Graesslin1

1Philips Research Europe, Hamburg, Germany

Whole body MRI at 3T may be impeded by B1 transmit field inhomogeneities caused by the dielectric shortening of the RF wavelength. RF shimming techniques based on parallel transmission can strongly improve the image quality in clinical whole body applications. In this context, it is an important question, how the RF shimming performance depends on the chosen coil topology and, in particular, on the number of transmit channels. In the present work, an 8-channel transmit system is used for B1 mapping and shimming, providing the flexibility of emulating different coil configurations and comparing their RF shimming performance.

15:30	4914.	T1 Weighted Whole Brain Imaging with Uniform Contrast at 3T Using Parallel Transmission

Shaihan J. Malik1, Shiva Keihaninejad2, Alexander Hammers2,3, Joseph V. Hajnal4

1Robert Steiner MRI Unit, Imaging Sciences Department, MRC Clinical Sciences Centre, Hammersmith Hospital, Imperial College London, London, United Kingdom; 2Division of Neuroscience and Mental Health, Imperial College London, London, United Kingdom; 3Neurodis Foundation, CERMEP - Imagerie du Vivant, Lyon, France; 4Robert Steiner MRI Unit, Imaging Sciences Department, MRC Clinical Sciences Centre, Hammersmith Hospital, Imperial College London, United Kingdom

T1 weighted brain imaging at 3T suffers from contrast variation caused by B1 field inhomogeneity. This can lead to reduced conspicuity of key anatomical structures; particularly the deep grey matter nuclei. We present a 3D tailored RF pulse using parallel transmission which produces uniform excitation over the whole brain incorporated into a standard MPRAGE sequence.  The resulting images demonstrate more uniform contrast than those acquired with standard RF pulses and result in more accurate depiction and automated segmentation of deep grey matter structures.

Tuesday 13:30-15:30		Computer 114

13:30	4915.	Image Quality Improvements for Balanced TFE at 3.0T Using a Clinical Parallel RF Transmission MR System

Trevor Andrews1,2, Melanie Kotys1, Marc Kouwenhoven3, Jay Gonyea2, Takamaru Ashikaga2, George Gentchos, 2,4

1Philips Healthcare, Cleveland, OH, United States; 2College of Medicine, University of Vermont, Burlington, VT, United States; 3Philips Healthcare, Best, Netherlands; 4Radiology, Fletcher Allen Health Care, Burlington, VT, United States

Cardiac MR imaging with steady state free precession sequences suffer from at least two image quality problems at 3T: excessive banding artifacts and suboptimal contrast due to inadequate flip angle.  In this study RF shimming was utilized to address these issues.  Results from 8 subjects demonstrated improved blood-to-septum contrast and radiologist-assessed image quality.  For one choice of parameters banding artifacts were effectively eliminated in all subjects while maintaining good overall image quality.

14:00	4916.	Multi-Slice Parallel Excitation Reduced FOV Imaging for Rodent EPI Applications

Denis Kokorin1,2, Martin Haas1, Maxim Zaitsev1

1Dept. of Diagnostic Radiology, University Hospital Freiburg, Freiburg, Germany; 2International Tomography Center, Novosibirsk, Russian Federation

The technique of parallel transmission in combination with spatially selective excitation allows for reduction of the field of view in the phase encoding direction. In this study the novel principle of multi-slice inner volume imaging is presented and the advantages are illustrated when combined with single shot EPI. The method was implemented successfully in DWI applications on the Bruker BioSpec animal system.

14:30	4917.	Parallel Excitation of a 3D ROI Inside a Post Mortem Brain

Kaveh Vahedipour1, Tony Stöcker1, Daniel Brenner1, N Jon Shah1,2

1Institute of Neuroscience and Medicine, Forschungszentrum Jülich, Jülich, Germany; 2Department of Neurology, RWTH Aachen University, Aachen, Germany

This work demonstrates the excitation of a 3D ROI within a post mortem brain by parallel RF transmission at 4T.

15:00	4918.	A Simple and Analytical Way to Correct for δB0 Inhomogeneity in the Evaluation of B1 Maps Relying on Flip Angle Measurements and Non-Selective Square Pulses

Nicolas Boulant1, Martijn Cloos1, Alexis Amadon1

1NeuroSpin, CEA, Gif sur Yvette, France

Efficient mitigation of the radiofrequency inhomogeneity at high field using coil arrays relies on the accurate knowledge of the individual B1 maps. To date, no simple recipe has been formulated to correct for B0 inhomogeneity in the evaluation of the B1 maps themselves. Here we derive a simple analytical approximation to increase the accuracy of the B1 mapping techniques which rely on the measurement of the flip angle using non-selective square pulses, in the presence of B0 variations. In some possibly encountered cases, applying the correction reduces the error of the estimated B1 amplitude from 13 % to 0.2 %.

Wednesday 13:30-15:30	Computer 114

13:30	4919.	Improving RF Shimming Via Non-Linear Sub-Image Combination

Ulrich Katscher1, Peter Vernickel1, Kay Nehrke1, Ingmar Graesslin1

1Philips Research Europe, Hamburg, Germany

RF shimming is able to overcome B1 inhomogeneities at high main fields via optimizing the drive weights of multiple transmit channels. However, due to the limited degrees of freedom in this approach, residual B1 inhomogeneities might occur for particular anatomies. This study tries to mitigate residual B1 inhomogeneities by a suitable, non-linear combination of images obtained from different sub-images. The sub-images have been acquired using different drive weights of the transmit channels, leading to complementary inhomogeneities in the different sub-images. The subsequent combination of the sub-images can be optimized with respect to constant total B1 and constant image contrast.

14:00	4920.	Enhanced Slab Selective Brain Imaging at 3T Using Wide Band Tailored RF Pulses

Shaihan J. Malik1, Joseph V. Hajnal1

1Robert Steiner MRI Unit, Imaging Sciences Department, MRC Clinical Sciences Centre, Hammersmith Hospital, Imperial College London, London, United Kingdom

Short (~2ms) 2DRF B1 inhomogeneity mitigation pulses designed to give broadband uniformity with a controlled excitation in fat were integrated into a T1 weighted MPRAGE sequence. No SAR increase was experienced compared with a standard sequence, but improved grey/white matter contrast was observed.

14:30	4921.	Sparse Parallel Transmission Using Optimized Sparse K-Space Trajectory by Simulated Annealing

Yong Pang1, Xiaoliang Zhang2,3

1Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA , United States; 2Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA, United States; 3UCSF/UC Berkeley Joint Graduate Group in Bioengineering, San Francisco & Berkeley, CA, United States

The combination of parallel transmission and sparse pulse is able to shorten the excitation duration by using both the coil sensitivity and sparse k-space. In this work, a novel sparse parallel transmission design based on optimal k-space trajectory is proposed. After undersampling the k-space, the simulated annealing (SA) algorithm is applied to design a short k-trajectory traveling through all the sparse samples. Almost without sampling useless k-space data, this k-trajectory is shorter than conventional trajectories and thus shortening the pulse width. Bloch simulation of 90O excitation has been performed to demonstrate the feasibility of this method.

15:00	4922.	Improved SNR/g Using Small FOV Spatially Selective Pulses with Parallel Excitation

Mike J. Smith1, Scott B. King1, Matthew Sodomsky1, Peter Latta1, Jarod Matwiy1, Ulrich Fontius2, Franz Schmitt2, Boguslaw Tomanek1

1National Research Council, Winnipeg, Manitoba, Canada; 2Siemens Medical Solutions, Erlangen, Germany

Transmit array systems generate improved spatially selective excitation profiles while mitigating RF power disposition. We used our 3T Siemens 8-channel transmit system for small FOV excitation to improve parallel imaging SNR when the sample exceeds the ROI. We ensure that excitation artifact signals are below the image noise level, making the g-factor maps ideal (unity) and effective reduction factors greater than what would typically be used for a particular array become possible.

Thursday 13:30-15:30	Computer 114

13:30	4923.	Eddy-Current-Compensated RF Pulse Design for Parallel Excitation

Hai Zheng1, Tiejun Zhao2, Tamer Ibrahim1, Fernando Emilio Boada1

1MR Research Center, University of Pittsburgh, Pittsburgh, PA, United States; 2Siemens Medical Systems, Malvern, PA, United States

High-performance RF coils for high or ultra high field MRI often require the use of RF shields that are in close proximity to the imaged volume. These shields can sometimes generate Eddy-currents that are not adequately compensated for using the pre-emphasis algorithm of the scanner and lead to severe distortions in the desired excitation pattern. In this work, we introduce a simple yet effective method for designing eddy-current-compensated parallel transmit RF pulses and demonstrate its effectiveness using simulations as well as experimental data at 7T.

14:00	4924.	VERSE-Guided Numerical RF Pulse Design

Daeho Lee1, William Allyn Grissom1, Michael Lustig1, John Mark Pauly1

1Electrical Engineering, Stanford University, Stanford, CA, United States

Numerical optimization-based RF pulse design methods are widely used to incorporate system non-idealities and non-linearities such as field inhomogeneities, coil sensitivities, and signal decay. These approaches often lead to RF pulses with high peak RF magnitude exceeding the hardware or safety limits and the variable-rate selective excitation (VERSE) principle can be utilized to directly constrain the peak RF power on-the-fly. However, discrete-time implementations of VERSE may not preserve spins' rotational behavior due to the imperfect system modeling and sampling. Also, the excitation profile of reshaped pulses is affected by time-dependencies that are not accounted for in VERSE. To effectively correct these errors while achieving a fast peak RF power control, VERSE-guided numerical RF pulse design framework is introduced for parallel transmit applications.

14:30	4925.	GrIP: Gradient Iterative Predistortion for Multidimensional and Parallel Excitation

William A. Grissom1, Adam B. Kerr1, Pascal P. Stang1, Michael Lustig2, Greig C. Scott1, John M. Pauly1

1Electrical Engineering, Stanford University, Stanford, CA, United States; 2Electrical Engineering, University of California, Berkeley, Berkeley, CA, United States

Multidimensional and parallel excitation pulses are highly sensitive to trajectory imperfections resulting from eddy currents and gradient amplifier nonlinearity. It has been recently proposed to solve this by redesigning RF pulses on measured trajectories; however, this approach is not compatible with RF pulse design methods in which the RF and gradients are designed jointly. We introduce an iterative technique for gradient preemphasis for multidimensional and parallel excitation. The method is capable of overcoming gradient amplifier non-linearities, and obviates the need to redesign pulses on a measured trajectory.

15:00	4926.	Using Dedicated Fieldprobes for Trajectory Measurements in Parallel Excitation Experiments

Johannes Thomas Schneider1, Christoph Barmet2, Wolfgang Ruhm1, Klaas Paul Pruessmann2, Peter Ullmann1

1Bruker BioSpin MRI GmbH, Ettlingen, Germany; 2Institute for Biomedical Engineering, University and ETH Zurich, Zurich, Switzerland

Several studies have demonstrated the benefit of measuring actually traversed k-space trajectories and incorporating this information into the design process of parallel spatially-selective excitation (PEX) pulses. However, most of the applied measurement techniques are based on phase evolutions in situ within the object. This leads to a strong dependency of data-quality and -reliability on the imaged objects. To overcome these limitations, a newly developed D2O-fieldprobe was used in this study in order to acquire object-independent trajectory data. This allows robust measurements of calibration data for the calculation of PEX pulses and results in high excitation accuracy under various experimental conditions.

Large-tip-angle & SAR in Parallel RF Contrast Agents & their Detection

Hall B	Monday 14:00-16:00		Computer 115

14:00	4927.	Bloch Simulation Acceleration for Fast Pulse Design in Parallel Transmit

Seung-Kyun Lee1, Dan Xu2, Silke M. Lechner3,4, Mika W. Vogel3

1GE Global Research, Niskayuna, NY, United States; 2Applied Science Laboratory, GE Healthcare, Waukesha, WI; 3Advanced Medical Applications Laboratory, GE Global Research, Munich, Bavaria, Germany; 4Department of Scientific Computing in Computer Science, Technical University Munich, Munich, Bavaria, Germany

Analytical and computational methods are presented to accelerate Bloch simulation for optimal control-based RF pulse design in parallel transmit. In the first method, the cost and steepest descent calculation in optimal control theory is performed in a frame of reference in which local longitudinal magnetic fields are transformed away analytically. In the second method we demonstrate an order-of-magnitude enhancement in iterative calculation speed as we shift the calculation load from the conventional Central Processing Unit to a Graphics Processing Unit. Both methods were tested in simulated 8-channel pTx pulse design.

14:30	4928.	Optimized Chemical Shift Selective Suppression for PTx Systems at 7T

Rene Gumbrecht1,2, Borjan Gagoski1, Elfar Adalsteinsson1,3

1Electrical Engineering and Computer Science, Massachusetts Institute of Technology, Cambridge, MA, United States; 2Department of Physics, Friedrich-Alexander-University, Erlangen, Germany; 3Harvard-MIT Division of Health Sciences and Technology, Massachusetts Institute of Technology, Cambridge, MA, United States

Parallel RF transmission offers flexible control of magnetization generation and has been successfully applied at 7T for spatially tailored excitations and mitigation of in-plane B1+ inhomogeneity for slice-selection. CHESS pulses are known to provide good frequency selective suppression in proton spectroscopy as long as B1+ inhomogeneity is small. We propose an optimized CHESS pulse design for pTx systems with high variation in peak-to-trough excitation field magnitude.

15:00	4929.	Large Tip Angle Parallel Excitation Using Nonlinear Non-Bijective PatLoc Encoding Fields

Martin Haas1, Peter Ullmann2, Johannes T. Schneider, 1,2, Wolfgang Ruhm2, Jürgen Hennig1, Maxim Zaitsev1

1Dept. of Diagnostic Radiology, Medical Physics, University Hospital Freiburg, Freiburg, Germany; 2Bruker BioSpin MRI GmbH, Ettlingen, Germany

The nonlinear non-bijective "PatLoc" fields recently proposed for anatomically tailored readout encoding are examined in combination with RF transmission for 2D spatially selective excitation. It is shown that parallel transmission is necessary to resolve encoding ambiguities but that PatLoc encoding allows for higher resolution magnetization patterns to be generated locally as compared to conventional linear encoding fields. The RF pulse design is based on the optimal control algorithm introduced by D. Xu et al. MRM 59, 547 (2008), which has been generalized to the regime of nonlinear non-bijective encoding fields.

15:30	4930.	SAR Benefits of Including E-Field Interactions in Parallel RF Pulse Design

Cem Murat Deniz1,2, Leeor Alon1,2, Riccardo Lattanzi1,2, Daniel K. Sodickson1, Yudong Zhu1

1Center for Biomedical Imaging, Department of Radiology, NYU School of Medicine, New York, NY, United States; 2Sackler Institute of Graduate Biomedical Sciences, NYU School of Medicine, New York, NY, United States

SAR management and excitation homogeneity are critical aspects of RF pulse design at ultra-high magnetic field strength. We investigated the effects on SAR behavior of incorporating measurable E-field interactions into parallel transmission RF pulse design. We simulated three different transmit coil array configurations using two different coil loadings, a human mesh and a homogeneous water phantom. Small-tip-angle and linear class large-tip-angle pulses were employed. We found that global SAR during parallel excitation decreases when  E-field interactions are included in RF pulse design optimization. Larger global SAR benefits were achieved for lower accelerations and for human mesh data.

Tuesday 13:30-15:30		Computer 115

13:30	4931.	A Fast Algorithm for Local-1gram-SAR Optimized Parallel-Transmit RF-Pulse Design

Alessandro Sbrizzi1, Hans Hoogduin2, Jan J. Lagendijk2, Peter Luijten2, Gerard Sleijpen3, Cornelis A. van den Berg2

1Imaging Division, UMC utrecht, Utrecht, Netherlands; 2UMC Utrecht; 3Mathematics, Utrecht University

In this paper we present a novel approach to the fast design of local SAR optimized multidimensional spatially selective RF pulses. It is based on the application of a multi-shift Conjugate Gradients (mCGLS) algorithm for computing RF pulses whose resulting local 1 gram SAR is more uniformly distributed, lowering the maximal value over the whole 3D spatial domain. The method was validated by simulations showing a reduction of 23% of the maximal SAR.

14:00	4932.	Local SAR Constrained Hotspot Reduction by Temporal Averaging

Ingmar Graesslin1, Christian Steiding1, Bjoern Annighoefer2, Julia Weller1, Sven Biederer3, David Brunner4, Hanno Homann1, Ferdinand Schweser5, Ulrich Katscher1, Klaas Pruessmann4, Peter Boernert1

1Philips Research Europe, Hamburg, Germany; 2TU Hamburg-Harburg, Hamburg, Germany; 3Institute of Medical Engineering, University of Lübeck, Lübeck, Germany; 4University and ETH Zurich, Zurich, Switzerland; 5IDIR / University Clinics, Jena, Germany

With increasing field strength the local specific absorption rate (SAR) becomes a limiting factor for many MR imaging applications. Minimal SAR RF pulses can be selected from the large solution space due to the extra degrees of freedom in the RF pulse design. This paper extends the recently proposed temporal averaging approach for local SAR reduction with multiple local SAR constraints. It successively applies multiple RF pulses with similar target excitation patterns, but different spatial SAR distributions, for averaging out local hotspots. The concept was validated by simulations and initial experiments on an 8-channel TX MRI system.

14:30	4933.	Characterization of Adiabatic Pulse Prepared Cell Imaging of Iron Oxide Nanoparticles

Steven Harris1, Chase Kessinger2, Jinming Gao2, Hongwei Chen3, Hui Mao3, Xiaoping Hu1

1Biomedical Engineering, Georgia Institute of Technology / Emory University, Atlanta, GA, United States; 2Simmons Comprehensive Cancer Center, University of Texas Southwestern  Medical Center, Dallas, TX, United States; 3Department of Radiology, Emory University School of Medicine, Atlanta, GA, United States

An adiabatic preparation pulse is used to produce an increasing contrast with increasing iron oxide nanoparticle concentration in cell and tumor models.  The adiabatic condition has been shown to fail leading to a contrast for spins diffusing near the nanoparticles.  We show that the adiabatic contrast is linearly correlated with R2 over the range of iron loading tested. Also, increasing contrast is observed in a tumor region confirmed by histology to contain nanoparticles in a model of tumor angiogenesis.  This technique has the potential for cellular imaging and quantification as it is less sensitive magnetization transfer and B0 homogeneity.

15:00	4934.	Local SAR Reduction Based on Channel-Dependent Tikhonov Parameters

Martijn Anton Cloos1, Michel Luong2, Guillaume Ferrand2, Alexis Amadon1, Dennis Le Bihan1, Nicolas Boulant1

1CEA, DSV, I2BM, NeuroSpin, LRMN, Gif-sur-Yvette, France; 2CEA, DSM, IRFU, SACM, Gif-sur-Yvette, France

The possibility of high local SAR values can be a limiting factor to in-vivo transmit-SENSE applications at high field. In this work we introduce a novel method to reduce the local SAR and demonstrate its application based on simulations. When considering the human head at 7T, the proposed method demonstrates local SAR reductions up to a factor of 6.

Wednesday 13:30-15:30	Computer 115

13:30	4935.	Selective Positive Contrast of Subvoxel Field-Disturbers Using Off-Resonance Excitation

Gerrit Hendrik van de Maat1, Hendrik de Leeuw1, Peter R. Seevinck1, Chris J.G Bakker2

1Image Sciences Institute, Utrecht, Netherlands; 2Department of Radiology, University Medical Center, Utrecht, Netherlands

It is feasible to excite protons that reside in the vicinity of Holmium loaded microspheres inside a voxel by shifting the center frequency f0 of the rf-excitation pulse. Due to this frequency shift, on-resonance protons are not excited and signal is only generated by protons strongly influenced by the dipole fields invoked by the microspheres. The total signal intensity of a voxel is related to the concentration HoMS in that voxel. The resulting positive contrast can be manipulated by the user since it will depend on the excitation bandwidth and profile and on the f0 frequency shift.

14:00	4936.	Combined Off-Resonance Imaging and Relaxation in the Rotating Frame for Positive Contrast Imaging of Infection in a Murine Burn Model

Valeria Righi1,2, Dionyssios Mintzopoulos1,2, Ovidiu C. Andronesi1,2, Jianxin He3, George Dai2, Laurence G. Rahme3, A Aria Tzika1,2

1NMR Surgical Laboratory, Department of Surgery, Massachusetts General Hospital and Shriners Burns Institute, Harvard Medical School, Boston, MA, United States; 2Department of Radiology, Massachusetts General Hospital, Harvard Medical School, Athinoula A. Martinos Center for Biomedical Imaging, Boston, MA, United States; 3Molecular Surgery Laboratory, Department of Surgery, Massachusetts General Hospital and Shriners Burns Institute, Harvard Medical School, Boston, MA, United States

We employed positive-contrast MRI in a murine model of burn and infection. We used off-resonance imaging (ORI) and a novel method of combining off-resonance imaging and relaxation in the rotating frame (ORI-T2ρ). We imaged accumulation of ultra-small super-paramagnetic iron oxide (USPIO) nanoparticle-labeled macrophages at the infection site in mice, which were burned and infected with Pseudomona aeruginosa. We concluded that ORI-T2ρ is more sensitive than ORI in detecting USPIOs and that we can successfully detect infection with positive contrast imaging, which opens up perspectives for monitoring infection and testing anti-infectives.

14:30	4937.	Quantification of Bound Contrast Agent Concentration Using Delta Relaxation Enhanced MR

Jamu K. Alford1, Blaine A. Chronik1

1Physics and Astronomy, The University of Western Ontario, London, ON, Canada

Delta relaxation enhanced magnetic resonance (dreMR) is an emerging method for performing molecular imaging, which utilizes a removable electromagnetic coil to modify the strength of the main magnetic field during an MRI pulse sequence.  The purpose of this field-cycling method is to acquire information about the binding state of targeted contrast agents that is not obtainable with static-field MRI methods.  This work describes a method for advancing dreMR from qualitative imaging to quantitative measurement of contrast agent binding.  By measuring the concentration of bound agent, the corresponding concentration of the target molecule can determined.

15:00	4938.	Rigidity of the Microscopic Environment Surrounding the Binding Site of Magnetic Nanoparticles

John B. Weaver1, Adam M. Rauwerdink2

1Radiology, Dartmouth-Hitchcock Medical Center, Lebanon, NH, United States; 2Thayer School of Engineering, Dartmouth College, Hanover, NH, United States

The microscopic stiffness of cellular cytoskeleton and the extracellular matrix have been very important in understanding metastasis and angiogenesis but no methods capable of in vivo measurement exist.  We show that a new method related to magnetic particle imaging (MPI) called magnetic spectroscopy of nanoparticle Brownian motion (MSB) is sensitive to the stiffness of the microscopic environment surrounding the binding sites of the streptavidin functionalized nanoparticles.  The matrix consisted of gels made with mixtures of gelatin and biotinated BSA.  Gel stiffness was changed by varying the concentration of gelatin.  MSB showed significant differences between each of the gels.

Thursday 13:30-15:30	Computer 115

13:30	4939.	Unambiguous Localization of Contrast Agents Via B0-Field-Cycling

Uvo Christoph Hoelscher1, Steffen Lother1, Florian Fidler1, Matin Blaimer1, Peter Jakob1,2

1Research Center Magnetic Resonance Bavaria (MRB), Wuerzburg, Germany; 2Department for Experimental Physics 5, University of Wuerzburg, Wuerzburg, Germany

This work presents a setup and analysis algorithm for unambiguous localization of contrast agents via a cycled magnetic field inside a clinical scanner. The algorithm detects contrasts agents with high relaxivity dispersion and suppresses signal from pure tissue. Data for the contrast agent Vasovist is shown and compared to theoretical results.

14:00	4940.	Contrast Agents:  the Effect of Relaxation on Magnetic Particle Imaging

Yong Wu1, Zhen Yao1, Gareth Kafka1, David Farrell1, Mark Griswold2, Robert Brown1

1Department of Physics, Case Western Reserve University, Cleveland, OH, United States; 2Department of Radiology, Case Western Reserve University, Cleveland, OH, United States

Magnetic particle imaging (MPI) is a new tomographic technique that allows fast, inexpensive imaging of MRI contrast ferrofluid agents with submillimeter resolution.  Selection fields combined with oscillating driving fields can move unsaturated field-free-points so as to cover the field of view.  In previous studies, the average magnetization is assumed to respond instantaneously to changes in the applied field.  Realistically, however, a finite relaxation time slows the magnetic response.  The present simulation demonstrates that, for contrast agents of interest, the choice of an optimal particle size is strongly dependent on this effect.  A trade-off thus exists between sensitivity and resolution.

14:30 	4941	A Fast Optimization Algorithm for Multi-Dimensional RF-Pulse Design under Multiple Constraints

A. Sbrizzi1, H. Hoogduin2, P. Luijten2, J. J. Lagendijk2, G. Sleijpen3, and C. A. van den Berg4

1Imaging Division, UMC utrecht, Utrecht, Utrecht, Netherlands, 2UMC Utrecht, 3Mathematics, Utrecht University, 4Radiotherapy, UMC Utrecht

Multi dimensional spatially selective excitation (mDSSE) RF pulse design aims to homogenize the magnetization over a given region of interest. After discretizing the solution of the Bloch Equation under the small flip angle approximation, the problem is to find an optimal numerical solution to the least squares problem argmin{||Ax-b||2 } (1) where the matrix A is the discretization of the integral operator as in [1], x and b the vectors corresponding to the requested RF pulses and desired magnetization respectively. In this paper we present an algorithm to solve (1) in a fast and stable way. From recent works it appears that a smooth RF pulse profile improves accuracy in the magnetization obtained from a transmit system. The speed achieved by the algorithm is exploited to add regularization terms to (1) in order to optimize the smoothness of the solution.

15:00	4942.	Detection of Human Mononuclear Cells Labelled with Micron-Sized Iron Oxide Particles Using the Sub-Pixel Enhancement of Nonuniform Tissue (SPENT) Sequence

Bernard Siow1, David W. Carmichael2,3, Johannes Riegler4, Daniel Alexander1, Mark Lythgoe4, Roger Ordidge3

1Centre for Medical Image Computing, University College London, London, United Kingdom; 2Institute of Neurology, University College London, United Kingdom; 3Department of Medical Physics and Bioengineering, University College London, United Kingdom; 4Centre for Advanced Biomedical Imaging, University College London, United Kingdom

The Sub-pixel Enhancement of Nonuniform Tissue (SPENT) sequence applies a 2pi phase dispersion across each voxel: the net phase of spins in magnetically homogeneous voxels would be equal to zero and thus no signal would be generated. If there are sub-pixel inhomogeneities, then the net phase of spins in a voxel is not zero and thus signal is seen. In this study, human mononuclear cells labelled with micron-sized iron oxide particles, which creates sub-voxel perturbations in the field, are scanned with a spin-echo SPENT sequence producing positive contrast images. SPENT provides directional information, as well as the potential for quantification.

Topics in RF Design

Hall B	Monday 14:00-16:00		Computer 116

14:00	4943.	ΦFA CUP: PHase Based Flip Angle Calibration Using the P0 Pulse for Proton MRI at 7T

Davide Santoro1, Tomasz Lindel, 1,2, Matthias Dieringer, 1,3, Wolfgang Renz, 1,4, Thoralf Niendorf, 1,5

1Berlin Ultrahigh Field Facility, Max-Delbrueck Center for Molecular Medicine, Berlin, Germany; 2 (PTB), Physikalisch Technische Bundesanstalt, Berlin, Germany; 3Franz-Volhard Klinik, Clinic for Cardiology, Charité Berlin, University Medicine, Berlin, Germany; 4Siemens Healthcare, Erlangen, Germany; 5Experimental and Clinical Research Center (ECRC), Charité Campus Buch, Humboldt-University, Berlin, Germany

We demonstrate the applicability of a rapid 3D-B1+ mapping method  for proton MRI at 7T. The method is based on the acquisition of two phase images where the effective flip angle is encoded in the phase of the non-slice selective rectangular composite pulse used as excitation in a gradient recall echo. On phantoms our method compares well with the double angle method, and is approximately 40 times faster. 3D FA map of human brain acquired in 102s are presented.

14:30	4944.	Spatial RF Pulse Design in Local Rotating Frame

Seung-Kyun Lee1

1GE Global Research, Niskayuna, NY, United States

In magnetic resonance, a gradient- and voxel-dependent rotating frame, which we call a “local rotating frame” can eliminate all longitudinal magnetic fields in magnetization dynamics and therefore significantly simplifies the theory and practice of spatial RF pulse design. When the gradient waveform is pre-determined, as is the case in most existing numerical  RF design methods, the frame transformation is completely straightforward, and removes need for repeated calculation of the same gradient effects as RF pulse is iteratively updated. After introducing basic theoretical elements of the new frame approach, we demonstrate its usefulness in two examples. First, we demonstrate calculation of the residual dephasing in slice selective excitation caused by nonlinearity of the Bloch equations by analytical integration of the equations in the local rotating frame. Second, we show that numerical integration of the Bloch equations is made significantly faster in the new frame due to the lack of strong longitudinal field. We discuss the relevance of the new approach in the context of iterative RF design in parallel transmit.

15:00	4945.	RF Concatenation with Spiral In-And-Out Trajectory for Two-Dimensional Large-Tip-Angle Excitation

Seung-Kyun Lee1, Dan Xu2, W A. Grissom3, Ileana Hancu1, Mika W. Vogel4

1GE Global Research, Niskayuna, NY, United States; 2Applied Science Laboratory, GE Healthcare, Waukesha, WI; 3Department of Electrical Engineering and Radiology, Stanford University, Stanford, CA; 4GE Global Research, Munich, Bavaria, Germany

We demonstrate that the time-reversed RF concatenation principle, which was previously considered in one-dimensional non-adiabatic inversion pulse design, can be extended to multi-dimensional and multi-coil excitation pulses. We present general analytical formulation of the concatenation principle, and demonstrate its use in (i) simulated inversion in 8-channel parallel transmit, and (ii) in-vivo inversion experiment on a single channel system with a human subject. The off-resonance field sensitivity, which is a drawback of the concatenation method in one dimension, is significantly reduced for two-dimensional excitation when a spiral in- and out- trajectory is employed.

15:30	4946.	Design of Velocity Selective Inversion Pulse for VSASL Using the Shinnar-Le Roux Algorithm

Kangrong Zhu1, Kui Ying1, Xinlu Xu1, William Grissom2, Michael Lustig2, John Pauly2

1Tsinghua University, Beijing, China; 2Stanford University, Stanford, CA, United States

A new method which employs the SLR algorithm to generate velocity selective inversion pulse is presented and a design example is shown. Simulation results demonstrate that the slice profile of the designed inversion pulse is very smooth and that the pulse has good resistance to B1 inhomogeneity. Phantom studies verified the frequency selectivity and the velocity selectivity of the pulse. All results imply that the pulse is potentially suitable for use as a tagging pulse in VSASL. The design method enables the pulse designer to explicitly trade off among important parameters such as slice thickness, pulse duration and pass-band ripple.

Tuesday 13:30-15:30		Computer 116

13:30	4947.	Combined Excitation and Partial Saturation to Reduce Inflow Enhancement

Misung Han1,2, Brian A. Hargreaves1

1Radiology, Stanford University, Stanford, CA, United States; 2Electrical Engineering, Stanford University, Stanford, CA, United States

Partially saturating outer slab upstream can reduce inflow enhancement and pulsatile ghost artifacts by preparing flowing spins to a steady state before entering the imaging slab. However, adding another RF pulse and spoilers increases scan time. Here, we present a short RF pulse that simultaneously excites the imaging slab and partially saturates the outer slab. This pulse was designed and demonstrated by phantom and in vivo experiments for the RF-spoiled gradient echo sequence.

14:00	4948.	Partial Fourier Accelerated Selective Excitation Improves Pattern Fidelity at 9.4 Tesla

Kaveh Vahedipour1, Tony Stöcker1, N Jon Shah1,2

1Institute of Neuroscience and Medicine, Forschungszentrum Jülich, Jülich, Germany; 2Department of Neurology, RWTH Aachen University, Aachen, Germany

Partial Fourier Spatially has so far been only investigated in 1 dimension in form of asymmetric echoes. Recently, we have prposed to use partial Fourier excitations for higher dimension. This work encloses recent results and considerations.

14:30	4949.	T2-Weighted Spin Echo Pulse Sequence That Is Sensitive to Restricted Diffusion

Ziqi Sun1, Robert Bartha2

1The Ohio State University, Columbus, OH, United States; 2Robarts Research Institute, London, Ontario, Canada

A spin-echo (SE) pulse sequence incorporated with two selective adiabatic full passage (AFP) pulse trains separated by a time delay tau (varying with TE) and located symmetrically on both sides of an amplitude modulated 180 degree refocusing pulse. Apparent T2 and diffusion measurements on a phantom of multi-medium and multi-compartment demonstrated that the customized SE sequence generated T2-weighted contrast that is specifically sensitive to restricted diffusion in the phantom media in comparison to those of the conventional SE and CPMG pulse sequences.

15:00	4950.	On the Generation of Half-Sinc Pulses for Optimal Excitation Profile

Keith Wachowicz1, B. Gino Fallone2,3

1Medical Physics, Cross Cancer Institute, Edmonton, Alberta, Canada; 2Medical Physics, Cross Cancer Institute, Canada; 3University of Alberta

In this work, we perform simulations to explore the effects of fast T2 relaxation on excitation with half-sinc pulses.  The generation of pulses for optimal excitation profiles is explored in terms of optimal flip angle, for which standard reasoning used for longer T2 species will no longer hold.  Also, the number of side lobes to generate an optimal excitation profile was investigated, since, unlike the case of longer T2, using more side-lobes does not necessarily result in a better profile.

Wednesday 13:30-15:30	Computer 116

13:30	4951.	Arbitrary Shape Excitation Using a 2D SPOKE Pulse at 7T

Christopher Joseph Wargo1, Marcin Jankiewicz1, Huairen Zeng1, John C. Gore1

1Vanderbilt University Institute of Imaging Science, Nashville, TN, United States

Arbitrarily shaped volume excitation has a variety of potential MRI applications.   By restricting the FOX, the information obtained is isolated to particular anatomical or functional regions.  Faster acquisitions can also be enabled for high resolutions due to fewer collected points.   To accomplish this, multi-pulse composites can be applied at various excitation k-space points, with simulations used to define RF and gradient waveforms for a specific desired excitation pattern. B1 inhomogeneity effects, prevalent at ultra-high field strengths such as 7T, can also be accounted for.   Here we demonstrate the performance of a SPOKE based arbitrary shape excitation at 7T in phantoms.

14:00	4952.	Multi-Voxel Excitation Using Sparse Pulse on Significantly Undersampled K-Space

Yong Pang1, Xiaoliang Zhang2,3

1Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA , United States; 2Radiology and Biomedical imaging, University of California San Francisco, San Francisco, CA, United States; 3UCSF/UC Berkeley Joint Graduate Group in Bioengineering, San Francisco & Berkeley, CA, United States

Multi-dimensional spatial selective excitation and parallel transmission have been applied to single- and multi-voxel MR spectroscopy to excite arbitrarily shaped region and shorten the pulse width. Recently the sparse pulse has been developed to shorten the excitation duration by using significantly undersampled k-space. Taking the advantage of this new technique, an example of multi-voxel excitation using sparse pulse is presented. Bloch simulation results demonstrate that each voxel can be well localized within the Field of View and the in-slice error can be controlled within 5%.

14:30	4953.	Refine Phase Modulation Function Sampling Step Size in Off-Center Variable-Rate Selective Excitation with Rf Pulse Magnitude Replication

Leping Zha1, Mitsue Miyazaki1

1Toshiba Medical Research Institute USA, Vernon Hills, IL, United States

Optimized rf waveforms are often designed under the “hard pulse approximation”, and come with a small number of wave points and singular features.  When the original designs are converted to variable-rate pulses, the small number of points often causes the often required variable-rate phase modulation function to be inadequately sampled, resulting in selection profile degeneration in off-center slices.  The piece-wise-constant amplitude function should be preserved, with the proposed simple pulse magnitude replication method which enables much finer phase sampling step size to better mimic the continuous phase function, and to help maintain the selection quality of the original pulse design.

15:00	4954.	Optimization of RF Excitation to Maximize Signal and T2 Contrast of Tissues with Rapid Transverse Relaxation

Michael Carl1, Mark Bydder2, Jiang Du2, Atsushi Takahashi1, Eric Han1, Graeme Bydder2

1GE Healthcare, Waukesha, WI, United States; 2University of California, San Diego

We present experimental data to verify theoretical findings on how to select the RF parameters of a non-selective SPGR pulse train to maximize signal amplitude and T2 contrast in tissues with fast transverse relaxation. The experimental data very closely matched the theory so that our results may directly be implemented to maximize the scan efficiency of UTE acquisitions.

Thursday 13:30-15:30	Computer 116

13:30	4955.	Reduction of Slice Select Artifacts in Half Pulse Excitations Used in Ultrashort TE (UTE) Imaging

Atsushi M. Takahashi1

1Applied Science Laboratory, GE Healthcare, Menlo Park, CA, United States

In ultra short TE (UTE) imaging, so-called “half pulses” are used because they do not require a refocusing gradient, thus reducing the echo time.  Two half pulses are required and cancellation of signal outside the desired slice desired.  Poor cancellation results in artifacts generated by signals from out of slice.  Here we present a method for improving the cancellation of out-of-slice signal to improve slice selection.

14:00	4956.	"MY Way" – a New Construction Technique for Broadband Slice-Selective Refocusing Pulses

James B. Murdoch1

1Toshiba Medical Research Institute USA, Mayfield Village, OH, United States

High-bandwidth slice-selective refocusing pulses are important for proton spectroscopy at 3T and above, but they are not easy to construct.  Previously it has been proposed to combine a self-refocused 90° excitation pulse with a time-reversed version of itself to create a suitably spin-flipping 180° waveform.  However, the 90° pulse need not be wholly slice-selective:  MX and MZ can vary outside the desired slice width so long as MY≈0.  Both AM and PM excitation pulses have therefore been optimized for the proper MY response and then combined to spawn new refocusing pulses (with a PM second-component phase flip for overall antisymmetry).

14:30	4957.	A Study of Wideband MR Imaging: SNR and CNR

Edzer Lienson Wu1,2, Jyh-Horng Chen, 23, Tzi-Dar Chiueh3

1Biomedical Engineering, National Taiwan University, Taipei, Taiwan; 2Interdisciplinary MRI/MRS  Lab, Taipei, Taiwan; 3Electrical Engineering, National Taiwan University, Taipei, Taiwan

Most of the MR image accelerating methods suffer from degradation of acquired images, which is often correlated with the degree of acceleration. However, Wideband MRI is a novel technique that transcends such flaws. In this study we demonstrate that Wideband MRI is capable of obtaining images with identical quality as conventional MR images in terms of SNR, CNR (contrast-to-noise ratio) and image sharpness, while using only half the total scan time (Wideband factor W=2) of normal MRI sequence.

15:00	4958.	High Fidelity Imaging Using Frequency Sweep Encoding

Jun Shen1

1NIMH, Bethesda, MD, United States

Recently Frydman et al proposed a mechanism for directly forming images in k space using frequency sweep encoding. It relies on the quadratic dependence of magnetization phase on position. In combination with EPI-type readout, this method has found applications in single-shot spin-echo imaging. Its sequential excitation of magnetization may also be used for novel image contrast generation. Fidelity of images directly formed in k space, however, is significantly degraded. Here we show that fidelity of this type of images can be restored and we also extend this method to susceptibility-weighted imaging.

Non-Cartesian Imaging Methods

Hall B	Monday 14:00-16:00		Computer 117

14:00	4959.	Fast Regridding Using LSQR on Graphics Hardware

Gerald Buchgraber1, Florian Knoll2, Manuel Freiberger2, Christian Clason3, Markus Grabner1, Rudolf Stollberger2

1Institute for Computer Graphics and Vision, Graz University of Technology, Graz, Austria; 2Institute of Medical Engineering, Graz University of Technology, Graz, Austria; 3Institute of Mathematics and Scientific Computing, University of Graz, Graz, Austria

Iterative image reconstruction methods have become increasingly popular for parallel imaging or constrained reconstruction methods, but the main drawback of these methods is the long reconstruction time. In the case of non-Cartesian imaging, resampling of k-space data between Cartesian and non-Cartesian grids has to be performed in each iteration step. Therefore the gridding procedure tends to be the time limiting step in these reconstruction strategies. With the upcoming parallel computing toolkits (such as CUDA) for graphics processing units image reconstruction can be accelerated in a tremendous way. In this work, we present a fast GPU based gridding method and a corresponding inverse-gridding procedure by reformulating the gridding procedure as a linear problem with a sparse system matrix.

14:30	4960.	A General Trajectory Tester

Lawrence Frank1,2, Greg Balls1, Souheil Inati3, Leslie Greengard4

1Radiology, UCSD, La Jolla, CA, United States; 2Radiology, VASDHS, San Diego, CA, United States; 3Dept of Psychology, NYU, New York; 4Courant Institute, NYU, New York, United States

We present a software platform called the General Trajectory Tester (GTT) that allows users to input arbitrary 3D k-space trajectories, in an arbitrary number of interleaves, which are then used to sample and reconstruct a known 3D analytical phantom.  The GTT can also simulate diffusion weighting, including arbitrary diffusion angular encoding schemes for DTI, multiple b-values, eddy current and motion induced artifacts and self-navigation, and so is a natural platform to test efficient DTI acquisition and self-navigation schemes.

15:00	4961.	Nonlinear Inverse Reconstruction for Real-Time MRI of the Human Heart Using Undersampled Radial FLASH

Martin Uecker1, Shuo Zhang1, Jens Frahm1

1Biomedizinische NMR Forschungs GmbH, Max-Planck-Institut für biophysikalische Chemie, Göttingen, Germany

A previously proposed algorithm for autocalibrated parallel imaging simultaneously estimates image content and coil sensitivities by inverting a nonlinear equation. Here, this algorithm is extended to non-Cartesian encodings and applied to real-time MRI. The method takes advantage of a convolution-based technique to simplify the implementation on a graphical processing unit (GPU) for reduced reconstruction times. The method is validated for real-time MRI of the human heart at 3 T using RF-spoiled radial FLASH. The results demonstrate artifact-free reconstructions for acquisitions with only 65 – 85 spokes corresponding to imaging times of 130 – 170 ms.

15:30	4962.	Improved BPE Reconstruction Using FOCUSS

Hisamoto Moriguchi1, Yutaka Imai1

1Radiology, Tokai University, Isehara, Kanagawa, Japan

Bunched Phase Encoding (BPE) is a new type of fast data acquisition method in MRI that takes advantage of zigzag k-space trajectories. A primary disadvantage of BPE is that images reconstructed using matrix inversion methods are sometimes affected by high levels of noise. In this study, a novel framework to reduce SNR loss in BPE reconstruction is presented. In this technique, high frequency k-space data are processed using regularization and the focal underdetermined system solver (FOCUSS). The newly proposed method is referred to as eBPE-FOCUSSf. Noise levels in the images of BPE-FOCUSS are substantially reduced from those of BPE.

Tuesday 13:30-15:30		Computer 117

13:30	4963.	Accurate Iterative Reconstruction Algorithm from Undersampled Radial Trajectory

Sung-Min Gho1, Dong-Hyun Kim1,2

1Electrical and Electronic Engineering, Yonsei University, Shinchon-Dong, Seoul, Korea, Republic of; 2Radiology, Yonsei University, Shinchon-Dong, Seoul, Korea, Republic of

Radial k-space sampled data can be reconstructed using a variety of schemes such as gridding, filtered back-projection (FBP), etc. Recently, the iterative next-neighbor regridding (INNG) algorithm was proposed as a means for accurate reconstruction. However, these algorithms have drawbacks in their ability to reconstruct image from undersampled radial trajectory. Therefore, we propose a new algorithm to reconstruct accurate images from undersampled radial trajectory.

14:00	4964.	Sampling Density-Adaption for Directly Filtered Projection Reconstruction

Armin Michael Nagel1, Frederik Bernd Laun1, Christian Matthies1, Armin Biller2,3, Michael Bock1

1Medical Physics in Radiology, German Cancer Research Center, Heidelberg, Germany; 2Radiology, German Cancer Research Center, Germany; 3Department of Diagnostic and Interventional Radiology, University Hospital Heidelberg, Germany

To minimize ringing artifacts apodization functions are often used. In this work a sampling density weighted apodization (SW) with a Hamming-window was implemented for 3D projection reconstruction trajectories (3DPR). This pulse sequence was compared with two post-acquisition filtered 3DPR-sequences, a conventional 3DPR-sequence and a sampling density adapted sequence (3DPR-UPF). Both, the 3DPR-UPF- and the 3DPR-SW-sampling scheme show a much better performance when compared to a conventional post-acquisition filtered 3DPR-sequence. Comparing the 3DPR-SW- and the post-acquisition filtered 3DPR-UPF-sequence, the SNR-benefits of the SW approach competes against the better artifact-behavior of the post-filtered technique.

14:30	4965.	2D Radial Acquisition Technique with Density Adaption in Sodium MRI

Simon Konstandin1, Armin Michael Nagel2, Patrick Michael Heiler1, Lothar Rudi Schad1

1Computer Assisted Clinical Medicine, Heidelberg University, Mannheim, Germany; 2Department of Medical Physics in Radiology, German Cancer Research Center, Heidelberg, Germany

A 2D projection reconstruction method with variable gradient amplitudes is proposed to cover the k-space uniformly. Simulations and sodium measurements were performed to compare a non-adapted with a density adapted radial sequence scheme in regard to SNR and blurring. A total SNR benefit of 1.37 for the adapted sequence can be reached. The new density adapted 2D radial sampling scheme provides higher SNR and less artifacts in the presence of magnetic field inhomogeneities than conventional projection reconstruction methods.

15:00	4966.	Anisotropic Twisted Projection Sodium MRI of Articular Cartilage in the Human Knee

Alexander Watts1, Robert Stobbe1, Christian Beaulieu1

1Biomedical Engineering, University of Alberta, Edmonton, Alberta, Canada

3D projection imaging has potential benefits in sodium MRI due to ultra-low echo times, but the spherical sampling of k-space leads to isotropic voxels which may not be ideal for imaging thin structures such as cartilage in the knee. Oblate-spheroidal twisted projection imaging, which yields anisotropic voxels, was compared to isotropic acquisition; both projection acquisitions had equal voxel volume (2.56 mm3), twist, readout length, and scan time.  The anisotropic projection acquisition had better effective in-plane resolution in a saline resolution phantom and yielded sharper, higher quality sagittal sodium images of human knee cartilage (n=3) in 9 min at 4.7T.

Wednesday 13:30-15:30	Computer 117

13:30	4967.	Flexible Retrospective Selection of Temporal Resolution in Real-Time Speech MRI Using a Golden-Ratio Spiral View Order

Yoon-Chul Kim1, Shrikanth S. Narayanan1, Krishna S. Nayak1

1Ming Hsieh Department of Electrical Engineering, University of Southern California, Los Angeles, CA, United States

In speech research using real-time MRI, the analysis of vocal tract dynamics is performed retrospectively after acquiring data in real-time. A flexible selection of temporal resolution is desirable because of natural variations in speaking rate and variations in the speed of different articulators. In this work, a golden ratio temporal view order was applied. Compared to a traditional spiral acquisition, the proposed method can provide an improved aliasing artifact reduction for static postures (e.g. pause, vowel sound) and an improved temporal resolution for capturing the dynamics of rapid articulator movement (e.g. consonant to vowel transition).

14:00	4968.	Efficient T2*- Contrast Manipulations in 3D Abdominal Imaging Using Autocorrected Forward/Reverse 
Spiral MRI

Peter Börnert1, Peter Koken1, Holger Eggers1

1Philips Research Europe, Hamburg, Germany

Large volume coverage, short total scan time, robust fat suppression and dedicated measures to varyimage contrast are important issues in abdominal MRI. To manipulate T2* weighting from very weak to very strong, 3D single breath-hold forward and reverse spiral imaging is performed in combination with three-point chemical-shift imaging (IDEAL) for high quality fat suppression and off-resonance artifact correction. Parallel imaging was employed to improve SNR, sampling efficiency and to achieve an up-front data compression during image reconstruction and correction. The combination of forward/reverse spiral signal sampling, IDEAL and SENSE could pave the way for interesting future water / fat resolved clinical applications.

14:30	4969.	Spiral MRI Trajectory Design with Frequency Constraint

Thomas Oberhammer1,2, Markus Weiger, 1,2, Franciszek Hennel3

1Institute for Biomedical Engineering, University and ETH Zurich, Zurich, Switzerland; 2Bruker BioSpin AG, Faellanden, Switzerland; 3Bruker BioSpin MRI GmbH, Ettlingen, Germany

An improved, 3-domain design for Archimedean spiral trajectories is proposed, utilising the instantaneous frequency for taking into account frequency limitations of the gradient system. It is demonstrated by simulations and experiments that the new layout enables creating trajectories with high fidelity and efficiency, leading to improved spiral image quality.

15:00	4970.	A Comparison of Spiral-Out, Spiral-In/out and Radial Balanced SSFP Sequences for Dynamic Cardiac Imaging

Xue Feng1, Michael Salerno2, Christopher M. Kramer, 23, Craig H. Meyer1,3

1Biomedical Engineering, University of Virginia, Charlottesville, VA, United States; 2Medicine, University of Virginia, Charlottesville, VA, United States; 3Radiology, University of Virginia, Charlottesville, VA, United States

Cartesian and radial balanced SSFP (bSSFP) sequences are widely used clinically for dynamic cardiac imaging. Dynamic spiral sequences have been used in many research studies, but clinical adoption has been slow.  One goal of this study is to compare radial and spiral dynamic balanced SSFP scanning. The other goal is to develop a new spiral-in/spiral-out bSSFP pulse sequence to achieve flow compensation through symmetry and to exploit the bSSFP refocusing mechanism at TE = TR/2.  We compared this new sequence to radial bSSFP and spiral-out bSSFP with flow-compensated rewinders.

Thursday 13:30-15:30	Computer 117

13:30	4971.	3D Cardiac Cine Imaging Using a 3D Cones Trajectory

Holden H. Wu1,2, Bob S. Hu3, Dwight G. Nishimura2, Michael V. McConnell1

1Cardiovascular Medicine, Stanford University, Stanford, CA, United States; 2Electrical Engineering, Stanford University, Stanford, CA, United States; 3Palo Alto Medical Foundation, Palo Alto, CA, United States

In this work, we present a 3D cardiac cine sequence based on the 3D cones non-Cartesian trajectory which can resolve multiple cardiac phases for a 3D volume within a single breath-held scan. The 3D cones trajectory is a fast sampling method that enables a high degree of scan time reduction. Furthermore, its robust motion and flow properties are beneficial for cardiac imaging. We implement the 3D cones cine sequence using a prospectively cardiac-triggered segmented SSFP sequence. Experimental results demonstrate that 12 cardiac phases can be resolved for 10 contiguous slices within a single 30-second breath-held scan.

14:00	4972.	Spiral Phyllotaxis: A Better Way to Construct a 3D Radial Trajectory in MRI

Davide Piccini1, Arne Littmann2, Peter Schmitt2, Michael O. Zenge2

1Pattern Recognition Lab,, University Erlangen-Nuernberg, Erlangen, Germany; 2MR Applications and Workflow Development, Healthcare Sector, Siemens AG, Erlangen, Germany

In order to exploit the self-navigating properties of 3D radial MRI, the trajectory has to be arranged so that the first readout of each interleave is oriented in superior-inferior direction. If this is done sub-optimally, image quality is degraded. Hence, an innovative trajectory based on spiral phyllotaxis featuring optimized interleaving properties is presented. The trajectory was compared to an Archimedean spiral in phantom experiments and in-vivo. The smooth gradient waveforms of the novel trajectory avoided eddy currents effects and, thus, allowed for whole-heart coronary imaging with highly undersampled data. Moreover, the presented method is intrinsically prepared for self-gated cardiac MRI.

14:30	4973.	Fast 3D SSFP Imaging Using a Concentric Cylinders Trajectory

Kie Tae Kwon1, Holden H. Wu, 1,2, Dwight G. Nishimura1

1Electrical Engineering, Stanford University, Stanford, CA, United States; 2Cardiovascular Medicine, Stanford University, Stanford, CA, United States

A 2D concentric rings trajectory is inherently centric-ordered, provides a smooth weighting in k-space, and enables shorter scan times.  Extensions of this trajectory for 3D imaging include: stack-of-rings and concentric cylinders. 3D stack-of-rings trajectory directly inherits flexible trade-offs property from 2D concentric rings. 3D concentric cylinders trajectory is similar to stack-of-rings, but it also has a unique property that leads to fewer excitations and benign off-resonance effects. In this work, we revisited the 3D concentric cylinders trajectory and have implemented an SSFP version of this sequence. Among the potential applications of this sequence is non-contrast MR angiography based on SSFP.

15:00	4974.	A Fast 3D Trajectory with Orthogonal Oversampling

James Grant Pipe1, Ryan K. Robison1, Ajit Devaraj1, Nicholas Zwart1, Kenneth Otho Johnson1

1Neuroimaging Research, Barrow Neurological Institute, Phoenix, AZ, United States

This work presents a new, center-out, rapid 3D trajectory based on spirals.  It has very uniform sampling density, and good suppression of aliasing and motion artifacts.  A unique feature is that, with little penalty in time, it samples most of k-space twice, in orthogonal directions, making it a good method undersampling for parallel imaging or compressed sensing.

Quantitative Imaging

Hall B	Monday 14:00-16:00		Computer 118

14:00	4975.	A Technique for Rapid Single-Echo Spin Echo T2 Mapping

Marshall S. Sussman1, Logi Vidarsson2, John M. Pauly3, Hai-Ling Margaret Cheng4,5

1Medical Imaging, University Health Network, Toronto, Ontario, Canada; 2Diagnostic Imaging, The Hospital for Sick Children, Toronto, Ontario, Canada; 3Electrical Engineering, Stanford University, Stanford, CA, United States; 4Research Institute & Diagnostic Imaging, The Hospital for Sick Children, Toronto, Ontario, Canada; 5Medical Biophysics, University of Toronto, Toronto, Ontario, Canada

Rapid T2 mapping is conventionally performed using multi-echo spin-echo imaging. However, due to errors arising from stimulated echoes and limited availability, the traditional but much slower single-echo spin-echo approach is often preferred. In this work, a rapid and accurate T2 mapping method based on single-echo spin-echo imaging is presented. Acquisition times are significantly reduced by employing a short repetition time (TR) together with a constant TR-TE difference to maintain monoexponential decay. Accuracy of the proposed method is demonstrated in phantom results and in-vivo imaging of the healthy human knee cartilage and brain.

14:30	4976.	Transverse Relaxation of Tissue Water in Human Brain: Relative Contributions of Iron and Macromolecules

Fumiyuki Mitsumori1, Hidehiro Watanabe1, Nobuhiro Takaya1, Michael Garwood2, Edward Auerbach2

1National Inst. Environmental Studies, Tsukuba, Ibaraki, Japan; 2University of Minnesota, United States

Apparent transverse relaxation rate (R2†) of the tissue water was measured in various regions of healthy human brain at four different fields of 1.9, 3, 4.7, and 7T using a multi-echo adiabatic spin echo (MASE) sequence. The R2† increased with field strength (B0).  Distribution of R2† in various regions is well explained by contributions from regional non-hemin iron concentration ([Fe]) and macromolecular mass fraction defined by 1 – water fraction. Assuming an equation of R2† = α[Fe] + βfM + γ, the coefficient α increased linearly with B0, as previously observed in ferritin solution.

15:00	4977.	Iron Accumulation and Transverse Relaxation Rates: A Quantitative Postmortem Study

Christian Langkammer1,2, Nikolaus Krebs2, Walter Goessler3, Eva Scheurer2, Kathrin Yen2, Franz Fazekas1, Stefan Ropele1

1Department of Neurology, Medical University of Graz, Graz, Austria; 2Ludwig Boltzmann Institute for Clinical-Forensic Imaging, Graz, Austria; 3Institute of Chemistry - Analytical Chemistry, University of Graz, Graz, Austria

Iron deposition in human brain tissue is commonly assessed by mapping R2 or R2* relaxation rates. The goal of our study was to validate if transverse relaxation rates can be used as sensitive and linear measures for iron concentration. R2 and R2* mapping was done in human post-mortem brains in situ. After brain extraction and fixation iron concentrations were determined in selected grey and white matter regions using inductively coupled plasma mass spectrometry. We found that both, R2 and R2* are strongly correlated with iron concentration and therefore can be used as a surrogate marker for iron deposition.

15:30	4978.	In Vivo Comparison of Three Quantitative MRI Techniques to Measure Brain Iron

Catherine Anusha Mallik1, Gareth J. Barker1, David J. Lythgoe1

1Centre for Neuroimaging Sciences, Institute of Psychiatry, London, United Kingdom

Correlation of quantitative MRI with brain iron may prove a useful tool in the diagnosis and prognosis of associated neuropathology. Sequences required for three of the most promising measures were implemented: transverse relaxation rate, magnetic susceptibility and magnetic field correlation (MFC) mapping. Protocols for each technique were standardised for brain coverage under the constraint of approximately equal, patient tolerable, scan times. Data collected on three control subjects at 3T in six brain regions indicated that magnetic susceptibly is the most closely correlated with reference brain iron of the three techniques.

Tuesday 13:30-15:30		Computer 118

13:30	4979.	Automated Calculation of T2* Mapping for MR Images with Application of Certainty Criterion for Enhanced Display

Oyinlolu Adeyanju1, Einar Heirberg2, Jane Sjögren3

1Biomedical Engineering, Northwestern University, Chicago, IL, United States; 2Clinical Physiology, Lund University, Lund, Sweden; 3Engineering, Medviso AB, Lund, Sweden

T2* mapping is a broadly-applied MRI measurement technique with various applications in many areas of MRI, including fMRI, molecular cell tracking, and the in vivo quantification of superparamagnetic contrast agents. This study assessed the validity of a T2* mapping module implemented in Segment (Medviso, AB). The T2* mapping module employs a linear least squares fitting algorithm with a goodness of fit certainty criterion for enhancing the accuracy of T2* maps. When compared with standard methods of T2* mapping, Segment showed an improved correlation with concentration over standard methods in phantom measurements, with a much shorter time of T2* map creation.

14:00	4980.	Influence of Stimulated Echoes on Iron Quantification with Multi-Echo Spin-Echo Pulse Sequences

Christina Louise Tosti1, Haiying Tang2, Srirama V. Swaminathan3, Sujit S. Sheth2, Jens H. Jensen4, Alvaro Nunez4, Kristi Hultman5, Daniel Kim4, Ed X. Wu6, Gary M. Brittenham2, Truman R. Brown2

1The Ohio State University, Columbus, OH, United States; 2Columbia University, New York, NY, United States; 3Philips Healthcare, Andover, MA, United States; 4New York University, New York, NY, United States; 5Mayo Clinic, Rochester, MN, United States; 6The University of Hong Kong, Hong Kong, Hong Kong

Phantoms that simulate the iron in tissue have been measured using a theoretical model that can separately quantify dispersed (ferritin-like) and aggregated (hemosiderin-like) iron using multiple spin echo (MSE) based R2 images. Here, we examine a large range of these heterogeneous phantoms and a preliminary patient population to determine the effects of stimulated echo (STE) contamination in MSE sequences on the iron quantification.

14:30	4981.	Cramer-Rao Lower Bounds for Assessment of Precision in T2* Value Evaluation by GRE Multiecho Sequence: Application to Iron Overload Measurements in Thalassemia Patients

Vincenzo Positano1, Luca Menichetti1, Alessia Pepe1, Antonella Meloni1, Daniele De Marchi1, Matteo Milanesi1, Maria Filomena Santarelli1, Giovanni Palazzi2, Massimo Lombardi1, Luigi Landini1,3

1MRI Lab, "G. Monasterio" Foundation and Institute of Clinical Physiology, Pisa, Italy; 2Oncoematologia Pediatrica, Policlinico di Modena, Modena, Italy; 3Department of Information Engineering, University of Pisa, Pisa, Italy

T2* multiecho magnetic resonance is an established methodology for assessment of iron overload in heart, liver, and other organs by evaluation of the T2* value. However, the dependence of the expected error from T2* value and acquisition parameters is unknown. This study demonstrate that evaluation of Cramer-Rao lower bounds allows to quantify the precision limits of T2* assessment for various schema of TEs. CRLB approach was applied to evaluate the T2* measurement quality in thalassemia patients.

15:00	4982.	MR Iron Quantification of Soluble (Ferritin-Like) and Insoluble (Hemosiderin-Like) Iron: A Biochemical Validation in Human Liver Explants

Christina Louise Tosti1, Boguslaw S. Wojczyk2, Sujit S. Sheth2, Daniel Kim3, Haiying Tang2, Jens H. Jensen3, Gary M. Brittenham2, Truman R. Brown2

1The Ohio State University, Columbus, OH, United States; 2Columbia University, New York, NY, United States; 3New York University, New York, NY, United States

A theoretical MR model has been proposed that separately quantifies dispersed (soluble, ferritin-like) and aggregated (insoluble, hemosiderin-like) iron by distinguishing their effects on R2 relaxation curves.  In this study, we examine human liver explants with this non-invasive MR iron measurement technique.  We compare the results of iron quantification using this model to the tissue concentrations of ferritin and hemosiderin iron determined by biochemical analysis.

Wednesday 13:30-15:30	Computer 118

13:30	4983.	Real-Time EPI T1, T2 and T2* Mapping at 3T

Cyril Poupon1, Jessica Dubois1, Linda Marrakchi1, Veronique Brion1, Jean-Francois Mangin1, Fabrice Poupon1

1CEA I2BM NeuroSpin, Gif-sur-Yvette, F91191, France

Besides their usual methodological use to characterize the NMR characteristics of specific chemical drugs, T1, T2 or T2* mapping is now progressively used in neuro-scientific studies, for instance to better understand the structural modifications occurring during brain development. Despite major improvements using DESPOT1 and DESPOT2 pulse sequences, mapping the whole brain relaxometry still requires scan durations not always compatible with clinical use. In this abstract, we present a novel solution dedicated to perforrm rho, T1, T2, and T2* mapping of the human brain in real-time with a low scan duration and a 1.5mm isotropic resolution.

14:00	4984.	Rapid and Simultaneous Measurements of T1, T2 and Relative Proton Density (M0) for Dynamic Musculoskeletal Studies

Paulo Loureiro de Sousa1,2, Alexandre Vignaud3, Servanne Fleury1,2, Pierre G. Carlier1,2

1Institut de Myologie, Laboratoire de RMN, Paris, France; 2CEA, I2BM, Paris, France; 3Siemens Healthcare, Saint Denis, France

Skeletal muscle functional imaging can provide valuable information on the physiological changes accompanying muscle activation  Because skeletal muscle physiological adaptations can simultaneously impact several NMR physical parameters (T1, T2, T2*, relative spin density (M0)), mono-parametric NMR imaging may not be able to describe adequately the complex behavior of stressed or exercised muscle. We investigated the feasibility of fast simultaneous measurements of T1, T2 and M0 using an Inversion Recovery TrueFISP (IR-TrueFISP) sequence. The main advantage of this method is the possibility of performing dynamic T1, T2 and M0 measurements in a single multi-parametric acquisition protocol, with relatively high temporal resolution.

14:30	4985.	Correction for T1 Determined Using Rapid Look-Locker B-SSFP  and a Simple Two Parameter Model Fit

Neville D. Gai1, John A. Butman1

1Radiology & Imaging Sciences, National Institutes of Health, Bethesda, MD, United States

A correction scheme for modulated longitudinal magnetization and incomplete inversion recovery Look-Locker sequence with  balanced SSFP acquisition is described. Correction for such a scheme typically uses a three parameter model which requires acquisition of several (6 to 10) phases. It is shown that the two parameter inversion recovery model provides excellent fit over a wide range of TR/T1 and flip angle parameter space.  The T1* obtained is easily corrected using a linear model. The correction was tested in phantoms and in head scans of several volunteers and shown to be accurate. Use of the two parameter model requires fewer acquisition phases (3 to 5) leading to improved temporal and spatial resolution.

15:00	4986.	T1 Error Analysis for Double Angle Technique and Comparison to Inversion Recovery B-SSFP Look-Locker Acquisition

Neville D. Gai1, John A. Butman

1Radiology & Imaging Sciences, National Institutes of Health, Bethesda, MD, United States

The dual flip angle technique (DAT) with short TRs is widely used to derive T1 maps rapidly. DAT offers a relatively faster alternative to typical Look-Locker based schemes. The optimal flip angles required, the effect of field inhomogeneity and, more recently, the effect of spoiling for DAT have been described in literature. In this work, we systematically study various sources of errors through simulations and error propagation analysis. DAT accuracy and repeatability of T1 calculations is shown to be substantially affected as a result of these sources of errors especially when compared with inversion recovery based schemes. Experimental results in phantoms and head scans in several volunteers confirm relatively poorer repeatability and accuracy in calculated T1 values especially when compared with recently described rapid Look-Locker technique with similar temporal and spatial resolution.

Thursday 13:30-15:30	Computer 118

13:30	4987.	General Formulas for Optimizing Two-Point Saturation-Recovery Measurements

Jung-Jiin Hsu1, Gary H. Glover2, Greg Zaharchuk2

1Department of Radiology, University of Miami School of Medicine, Miami, FL, United States; 2Lucas Center for Imaging, Stanford University, Stanford, CA, United States

Saturation-recovery (SR) method is a popular technique for the longitudinal relaxation rate measurement, in which the relaxation rate is derived from separate measurements of at least two different recovery times.  An interesting and long-standing question in clinical applications is, given a limited amount of time, how the recovery times should be allocated to minimize the uncertainty of the measurement.  In this work, a systematic Monte Carlo computation for the SR method is carried out and general formulas are derived to answer this question.

14:00	4988.	Fast Two-Dimensional Relaxometric Characterisation of Brain Tissue in Vivo: Is T1 Relaxation Multi-Component?

Ana-Maria Oros-Peusquens1, Fabian Keil1, N Jon Shah1,2

1Institute of Neuroscience and Medicine 4, Medical Imaging Physics, Forschungszentrum Juelich GmbH, Juelich, Germany; 2Faculty of Medicine, RWTH Aachen University, Aachen, Germany

T1 mapping is performed with a spoiled 3D multiple-echo gradient echo sequence, from two acquisitions with same TR and different flip angles. At each different echo time, an independent T1 map is produced. Apart from small variations due to decreasing SNR with echo time, no dependence of T1 on TE is expected from the theoretical description of the method. However, a systematic increase of T1 with echo time is observed in the white matter, and interpreted as an indication for multi-component T1 decay due to the presence of multiple and distinct water environments.

14:30	4989.	Rapid T1 Determination with Optimized Inversion Recovery Sequence

Ke Li1,2, Junzhong Xu1,2, Zhongliang Zu1,2, John C. Gore1,2, Mark D. Does1,2, Daniel F. Gochberg1,2

1Vanderbilt University Institute of Imaging Science, Nashville, TN, United States; 2Department of Radiology and Radiological Sciences, Vanderbilt University, Nashville, TN, United States

In this work, the inversion recovery sequence was optimized for T1 measurements, by varying both the inversion recovery time (ti) and pre-delay (td). Comparing to conventional acquisition scheme, which uses logarithmic spacing ti and long td (> 5T1), the optimized sequence has precision efficiency of ~ 2.5 times greater than the conventional scheme.

15:00	4990.	A Field Comparison of R1 and R2* Relaxivities of Gd-DTPA in Aqueous Solution and Whole Blood: 
3T Versus 7T

Chaitanya Kalavagunta1, Gregory John Metzger1

1Center of Magnetic Resonance Research, University of Minnesota, Minneapolis, MN, United States

The goal of this study was to measure r1 and r2* relaxivity of Gd-DTPA in bovine blood and aqueous solution at 3T and 7T. To our knowledge this is the first time that the r2* characteristic for blood has been measured at 7T.

Susceptibility Mapping

Hall B	Monday 14:00-16:00		Computer 119

14:00	4991.	Advantages of a Local Polynomial Filter with Moving Window for Phase Reconstruction in Susceptibility Weighted Imaging

Sandra M. Meyers1, Amir Eissa2, Alan H. Wilman3

1Physics, University of Alberta, Edmonton, AB, Canada; 2Physics, Univeristy of Alberta, Edmonton, AB, Canada; 3Biomedical Engineering, University of Alberta, Edmonton, AB, Canada

Phase images produced from susceptibility-weighted images require extensive reconstruction.  In this work we compare a moving window, local polynomial approach to a standard method, demonstrating significant differences in phase unwrapping and contrast.

14:30	4992.	Improving SWI Contrast

Kai Zhong1, Oliver Speck1

1Biomedical Magnetic Resonance, Otto-von-Guericke University, Magdeburg, Saxon-Anhalt, Germany

Susceptibility Weighted Imaging (SWI) has been proposed to enhance the image contrast, especially between small veins and surrounding tissues and has received wide acceptance in clinical MR studies. On the other hand, it was not discussed in detail whether the original SWI filter indeed optimally exploits magnitude and phase information. A generalized filter based on the sigmoidal function was applied for SWI contrast and showed higher contrast compared to the original SWI filter. The new filter can be parameterized and thus can be dynamically adapted to the data input to improve the overall SWI contrast and therefore should improve the outcome of future studies utilizing SWI contrast.

15:00	4993.	A Comparison of T2* Magnitude, SWI, K-Division Susceptibility Map, Maxwell Equation Regularized Quantitative Susceptibility Map for Brain Iron Mapping

James R. Ledoux1, Tian Liu1, Jing Liu1, Ildar Khalidov1, Martin Prince1, Yi Wang1

1Weill Cornell Medical Center, New York, NY, United States

The reconstruction methods of Quantitative Susceptability Mapping (QSM), Susceptability Weighted Imaging (SWI), and truncated k-space division all desire to reveal an image of susceptability sources. It is difficult to directly find susceptability sources from the magnetic field map (obtained by phase information) as the dipole convolution kernel has zeros in k-space.  However, the inversion problem can be regularized to provide a solution as shown in the QSM method.  We compare this to direct inversion of the convolution by truncating the convolution kernel near ill-conditioned values, and with SWI which is a phase-masked T2* image.

15:30	4994.	Eliminating Streaking Artifacts in Quantitative Susceptibility Mapping Using L1 Norm Minimization

Ildar Khalidov1, Tian Liu1, Xiaoyue Chen2, Moonsoo Jin2, Martin Prince1, Yi Wang1

1Radiology, Weill Cornell Medical College, NYC, NY, United States; 2Biomedical Engineering, Cornell University, Ithaca, NY, United States

Quantitative susceptibility mapping (QSM) has been developed as a technique that uses the phase information from the MRI measurements to estimate susceptibility changes in the imaged object. Moreover, it is possible to estimate the magnetic moment of the region of interest, which gives way to quantitative imaging of tracer particles in MRI. However, the inverse problem that needs to be solved to recover the susceptibility map from the phase image is ill-posed: 1), the dipole kernel that links the two maps has a cone of zeros in Fourier domain, and 2), regions of strong susceptibility change have low intensity (and hence, unreliable phase data) due to T2* dephasing. In this work, we use total variation-based regularization to tackle the inverse problem. Compared to original weighted quadratic regularization in [1], the proposed TV regularization significantly reduces the streaking artifacts from the areas of susceptibility change. This is particularly important in animal imaging where eventual air bubbles and/or voxel misclassifications at the segmentation stage could lead to strong under-estimation of the quantities of particles of interest.

Tuesday 13:30-15:30		Computer 119

13:30	4995.	Quantitative Susceptibility Mapping: A Comparison Between COSMOS and Weighted L1 Regularization from Single Orientation

Tian Liu1, Jing Liu2, James Ledoux2, Martin R. Prince2, Yi Wang1

1Biomedical Engineering, Cornell University, New York, NY, United States; 2Radiology, Weill Cornell Medical College, New York, NY, United States

Quantitative Susceptibility Mapping (QSM) provides both visualization and quantification of endogenous and exogenous susceptibility contrasts. In this study, we compared two validated reconstruction techniques, COSMOS and weighted L1, on a phantom experiment and on healthy volunteer brain scans.

14:00	4996.	Quantitative Susceptibility Mapping by Regulating the Field to Source Inverse Problem with a Sparse Prior Derived from the Maxwell Equation: Validation and Application to Brain

Jing Liu1, Tian Liu2, Ludovic de Rochefort3, Ildar Khalidov1, Martin Prince1, Yi Wang1,2

1Radiology, Weill Cornell Medical College, New York, NY, United States; 2Biomedical Engineering, Cornell University, Ithaca, NY, United States; 3MIRCen, I2BM, DSV, CEA, Fontenay-aux-roses, France

Quantitative susceptibility mapping (QSM) is a promising technique for quantifying endogenous and exogenous susceptibility contrasts. The problem of deriving QSM from the measured field is under-determined and can be solved by optimization minimization programming. The prior information of the MR image magnitude can be used for promoting the sparsity of the minimization problem. The proposed method was validated by phantom experiments with high accuracy and good image quality. Brain susceptibility mapping provides good visualization as well as valuable quantification of iron accumulation in the brain.

14:30	4997.	Quantitative Susceptibility Mapping in Vivo in the Rat Brain

Ludovic de Rochefort1, Aurélie Delzor1, Martine Guillermier1, Diane Houitte1, Marion Chaigneau1, Nicole Déglon1, Philippe Hantraye1, Vincent Lebon1

1MIRCen, I2BM, DSV, CEA, Fontenay-aux-Roses, France

Molecular and cellular imaging is seeing a growing interest, but applicability to MRI relies on the ability to be specific, sensitive and quantifiable. Superparamagnetic iron oxides are good candidates as they produce a strong magnetic field creating signal voids in gradient echo images. Quantitative susceptibility mapping (QSM) additively uses the magnetic field to quantify the magnetic sources. In this study we apply QSM in the preclinical context of the rat brain using a reconstruction algorithm that includes unwrapping, removing background effects and inverting the field map. The technique demonstrates its ability to quantify SPIO amounts injected in the brain.

15:00	4998.	Susceptibility Phase Imaging of the Basal Ganglia: Effects of Phase Filtering, Slice Orientation and ROI Selection with Comparison to T2* Mapping

Andrew Walsh1, Marguerite Wieler2, Wayne Martin2, Alan Wilman1

1Biomedical Engineering, University of Alberta, Edmonton, Alberta, Canada; 2Division of Adult Neurology, University of Alberta, Edmonton, Alberta, Canada

We examined the effectiveness of current methods in susceptibility phase imaging of basal ganglia structures using computer simulations and invivo data. The effects of phase filtering reconstruction, slice orientation and ROI selection with comparison to T2* mapping are examined in this study.  These investigations showed that measured phase can be substantially influenced by filtering, slice orientation and ROI selection which can confound phase data acquired in cross sectional or longitudinal studies.  We have proposed techniques to optimize phase value acquisition for the consistent evaluation of phase in future studies.

Wednesday 13:30-15:30	Computer 119

13:30	4999.	Accurate Susceptibility Quantification from MR Phase Data Through the Least Squares Fit Method: Phantom Validation

Jaladhar Neelavalli1,2, Yu-Chung Norman Cheng3, Mudassar Kamran2, James V. Byrne2, Ewart Mark Haacke3

1The MRI Institute for Biomedical Research, Detroit, MI, United States; 2Nuffield Department of Surgery, University of Oxford, Oxford, Oxfordshire, United Kingdom; 3Academic Radiology, Wayne State University, Detroit, MI, United States

We utilize a Fourier based method of quantifying the magnetic susceptibilities of arbitrarily shaped objects with medium sizes in a phantom. The method uses the phase images and an iterative 3D least-squares fitting algorithm. The quantified susceptibility has an 11% uncertainty, which is due to the pixelization (or systematic) error.

14:00	5000.	Multi Echo Susceptibility Weighted Imaging: Improving Image Contrast by Applying the Susceptibility Weighted Phase Mask to Maps of the R2* Decay

Christian Denk1, Alexander Rauscher1

1UBC MRI Research Centre, University of British Columbia, Vancouver, BC, Canada

Maps of R2* relaxation computed from multi echo susceptibility weighted images (SWI) were multiplied with phase mask obtained from the same data. This procedure leads to an improved contrast between grey matter and white matter compared to standard SWI data processing.

14:30	5001.	Susceptibility Weighted Imaging (SWI) of the Kidney at 3T – Initial Results

Moritz Mie1, Johanna C. Nissen2, Frank G. Zöllner1, Melanie Heilmann1, Henrik J. Michaely2, Stefan O. Schönberg2, Lothar R. Schad1

1Department of Computer Assisted Clinical Medicine, Heidelberg University, Mannheim, Germany; 2Institute of Clinical Radiology and Nuclear Medicine, Heidelberg University, Mannheim, Germany

SWI has been investigated for its applicability to renal imaging. To handle the problems of organ motion and a higher oxygenation level of the kidneys compared to the brain, the acquisition time has been cut down to allow for breath-hold examinations and different post-processing methods were investigated. Results showed that our new post-processing strategy could produce a susceptibility weighted contrast enhancement by a factor of 1.5 compared to the standard approach. The results represent initial experiences with the SWI for abdominal imaging which proof the principal feasibility.

15:00	5002.	Field-Corrected 3D Multiecho Gradient Echo: Simultaneous Extraction of Quantitative R2*, T2* Weighting, SWI, and Venography

Robert Marc Lebel1, Alan W. Wilman1

1Biomedical Engineering, University of Alberta, Edmonton, Alberta, Canada

Susceptibility weighted imaging incorporates phase information to enhance image contrast. We employ multiecho 3D gradient-echo, with a rapid pre-scan to minimize diverging phase ramps in the readout direction, with advanced post-processing techniques to correct for macroscopic field gradients to generate multiple high quality data sets from a single scan. Ultimately this technique yields the following low-artifact, high-resolution data sets: (1) T2*-weighted images, (2) quantitative R2* maps, (3) SWI, and (4) venography.

Thursday 13:30-15:30	Computer 119

13:30	5003.	Resolving Phase: Inversion of SWI-Phase Data in Order to Obtain Its Sources Utilizing the Concept of a Generalized Lorentzian Approximation

Ferdinand Schweser1, Moritz Hütten2, Berengar Wendel Lehr2, Andreas Deistung2, Daniel Güllmar2, Jürgen Rainer Reichenbach2

1Medical Physics Group, Department of Diagnostic and Interventional Radiology , Jena University Hospital, Jena, Germany; 2Medical Physics Group, Department of Diagnostic and Interventional Radiology, Jena University Hospital, Jena, Germany

Phase data acquired at multiple orientations with respect to the magnetic field was inverted to susceptibility, rotation-invariant local shift, and anisotropy-related susceptibility. Results indicate that gray-to-white matter contrast in phase images is dominated by sources from magnetic susceptibilities rather than macro-molecular exchange processes.

14:00	5004.	Reconstruction of Multi-Echo High-Resolution T2* and Phase Imaging Data Acquired at 3 Tesla Using a 32 Channel Head Coil

Claudiu Schirda1, Anthony Vu2, Robert Zivadinov1

1Buffalo Neuroimaging Analysis Center, University at Buffalo, Buffalo, NY, United States; 2GE Healthcare, Milwaukee,, WI, United States

Susceptibility weighted imaging (SWI) has been shown to be a useful technique for visualization of small veins, of iron deposits and micro bleeds in vivo brain, among other applications. Because the susceptibility effects present in the image are dependent on the echo time, a multi-echo acquisition like SWAN, even when using just the magnitude information, will be able to provide complimentary information. Using the free (no extra acquisition time) information that is found in the phase image, thus SWAN with phase reconstruction, enables one to obtain a wealth of information. A number of challenges are presented when using a 32 channel coil for data acquisition and we present solutions to these challenges.

14:30	5005.	Order of Magnitude Speedup for Iterative Algorithms in Quantitative Susceptibility Mapping Using Multi-Core Parallel Programming

Deqi Cui1,2, Tian Liu1, Pascal Spincemaille3, Yi Wang

1Biomedical Engineering, Cornell University, New York, NY, United States; 2Optic electronics, Beijing Institute of Technology, Beijing, China; 3Radiology, Weill Cornell Medical College, New York, NY, United States

Iterative susceptibility reconstructions requires four Fast Fourier Transforms in every iteration and hundreds of iterations to converge. Although the iteration is hard to disperse, FFT can be computed in parallel. In this study, a parallelized FFT based on OpenMP was implemented to achieve quasi real-time susceptibility map reconstructions.

15:00	5006.	A T2* Selective Higher-Order Soliton Preparation Pulse for MRI

Marcin Jankiewicz1,2, Jay Moore1,3, Adam W. Anderson1,4, John C. Gore1,4

1Institute of Imaging Science, Vanderbilt University, Nashville, TN, United States; 2Department of Radiology, Vanderbilt University, Nashville, TN, United States; 3Department of Physics, Vanderbilt University; 4Department of Biomedical Engineering, Vanderbilt University

The soliton pulses represent a promising solution to the problem of designing T2* selective preparation pulses. The pulses are characterized by a set of complex parameters. Their interpretation is only partially understood in the context of MRI. For example, some of them correspond to values of relaxation times for which the magnetization vector will be nulled. A preliminary analysis of the behavior of such pulses is presented here with the goal of demonstrating the versatility of such pulses in producing a range of T2* contrasts.