## Slide 2: MR Receive Coil Matching Networks
Technical University of Denmark RF Coils
Rasmus Jepsen, Vitaliy Zhurbenko, Jan Henrik Ardenkjær-Larsen

## Slide 3: Background – Receive Coil Matching Networks
Matching networks should provide preamp decoupling and noise matching
Preamp decoupling initially described by [1]
Matching network topologies investigated by [2] [3]
[1] Roemer P. B., Edelstein W. A., Hayes C. E., Souza S. P., Mueller O. M.. The NMR phased array. Magnetic Resonance in Medicine. 1990;16(2):192-225.
[2] Reykowski Arne, Wright Steven M., Porter Jay R.. Design of Matching Networks for Low Noise Preamplifiers. Magnetic Resonance in Medicine. 1995;33(6):848-852.
[3] W. Wang, V. Zhurbenko, J. D. Sánchez‐Heredia, and J. H. Ardenkjær‐Larsen, "Trade‐off between preamplifier noise figure and decoupling in MRI detectors," Magnetic Resonance in Medicine, vol. 89, no. 2, pp. 859–871, 2023. doi:10.1002/mrm.29489
Figure/slide adapted from R. A. Jepsen, J. H. Ardenkjær-Larsen, and V. Zhurbenko, “Simulation Setup for Demonstrating SNR Performance of Preamplifier Decoupled versus Power Matched Receive Coils,” in Proc. Int. Soc.Magn. Reson. Med., Online, 2024

## Slide 4: Background – Common-mode rejection
[1] C Lorenz AG, “Circuit arrangement for the transition from a symmetrical electrical arrangement to an asymmetrical one, in particular in the case of high-frequency arrangements,” Germany Patent 603 816, April 1, 1932. [Online]. Available: https://patents.google.com/patent/DE603816C/en
[2] Peterson David M.. Impedance Matching and Baluns. John Wiley & Sons, Ltd 2011.
[2] General Electric Company . AN ANTERIOR RADIO FREQUENCY (RF) COIL ARRAY FOR A MAGNETIC RESONANCE IMAGING (MRI) SYSTEM. 2018.
Figures/slide adapted from R. A. Jepsen, J. H. Ardenkjær-Larsen, and V. Zhurbenko, “Studying Bandwidths of Balancing Preamplifier Decoupling Networks,” in Proc. Int. Soc.Magn. Reson. Med., Online, 2024
[1] [2] [3]

## Slide 5: Design Aims
Openly available
Easy to use
Extensible – can be used to support future developments

## Slide 6: Tool Overview
The tool repository contains:
Main Jupyter notebook for interacting with the tool
Python package for programmatically using the networks
Python notebooks for design equation derivations

## Slide 7: Tool Usage - Inputs

## Slide 8: Tool Usage - Outputs
Tools used for circuit modelling and analysis: Lcapy, Scikit-rf and lc-power-match-baluns

## Slide 9: Future directions
Web version
Support other input formats (e.g. Touchstone)
Simulate other non-ideal effects (e.g. component tolerances and SRF)
Extend matching networks to improve bandwidth
Enable multinuclear coil applications
Extend for extra elements to improve component value flexibility

## Slide 10: Thank you for listening
Repository available here
https://doi.org/10.5281/zenodo.10940156