## Slide 1: 2024 Engineering Challenge Entry: Printed Dual-Loop RF H Field Probe
Nicola De Zanche1,2, Giulio Giovannetti3
Dept. of Oncology, University of Alberta; Edmonton, Canada
Medical Physics, Cross Cancer Institute; Edmonton, Canada
CNR - Institute of Clinical Physiology; Pisa, Italy
giulio.giovannetti@cnr.it dezanche@ualberta.ca

## Slide 2: Problem
dual H-probe measurements are useful but:
  no off-the-shelf probes exist
  probes are tricky to build
  loops move and coupling changes
10.1109/JERM.2023.3274742

## Slide 3: Problem
10.1109/JERM.2023.3274742

## Slide 4: Prior Work
printed (PCB) 1-loop probe (2023):
https://github.com/dezanche/H-field_RF_probe

## Slide 5: KiCAD Design

## Slide 6: Results: coupling
-40
-35
-30
-25
-20
-15
-10
-5
0
-20
1
Pwr -10 dBm
Ch1
Center
275 MHz
Span
450 MHz
Trc1
Trc2
Mem3[Trc2]
S11
S21
S21
dB Mag
dB Mag
dB Mag
2 dB /
5 dB /
5 dB /
Ref -6 dB
Ref -20 dB
Ref -20 dB
Cal
Cal Off
•
1
275.00000
MHz
-40.558
dB
S21
1
as built
adjusted

## Slide 7: Results: resonant circuit
-40
-35
-30
-25
-20
-15
-10
-5
0
-20
1
Pwr -10 dBm
Ch1
Center
275 MHz
Span
450 MHz
Trc1
Trc2
Mem3[Trc2]
S11
S21
dB Mag
dB Mag
dB Mag
2 dB /
5 dB /
5 dB /
Ref -6 dB
Ref -20 dB
Ref -20 dB
Cal
Cal Off
•
1
275.00000
MHz
-31.938
dB
S21
1

## Slide 8: Conclusion
probe design works; it’s tough and stable
Github repository is public:
future work:
  revise to minimize intrinsic coupling
  incorporate fine adjustment of coupling

## Slide 9: Acknowledgements
Natural Sciences and Engineering Research Council (Canada)